Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 1113 	Electricity: AC Principles

CREDITS:  3	CLASS HOURS PER WEEK:  3		PREREQUISITES:  None

DESCRIPTION OF COURSE

This course covers properties of alternating current (AC), AC measurements, inductance and inductive reactance, capacitance, impedance, series and parallel AC circuits, resonance, power and power factor correction, single-and three-phase transformers, and load analysis.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Demonstrate correct use of electrical meters to Measure at least four circuit quantities in an AC circuit; Explain the difference between peak values and RMS values.

Compare and Contrast capacitive and inductive reactances with resistance; Create at least five vector diagrams to illustrate calculation of impedance from given sets of reactance and resistance values.

For a given series, parallel, or combination circuit of at least five elements, Perform circuit analysis to Determine the values of electrical quantities (voltage, current, impedance, power) for each part of the circuit  to Demonstrate competence in AC circuit analysis.

For a given commercial circuit power factor, leading or lagging, Describe a possible source and Defend your choice of a correction technique for this situation.

INSTITUTIONAL LEARNING GOALS

Columbus State Community College's Institutional Learning Goals are an integral part of the curriculum and central to the mission of the college. The faculty at Columbus State has identified the following institutional learning goals (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; AC Measurement Instruments

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

AC Circuits Text and Workbook

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

ASSESSMENT

Columbus State Community College is committed to assessment (measurement) of student achievement of academic outcomes.  This process addresses the issues of what you need to learn in your program of study and if you are learning what you need to learn.  The assessment program at Columbus State has four specific and interrelated purposes: (1) to improve student academic achievements; (2) to improve teaching strategies; (3) to document successes and identify opportunities for program improvement; (4) to provide evidence for institutional effectiveness.  In class, you are assessed and graded on your achievement of the outcomes for this course.  You may also be required to participate in broader assessment activities.

STANDARDS AND METHODS FOR EVALUATION

Homework -		10%

Quizzes -		30%

Tests and Exams -	40%

Practical Exercises -	20%

GRADING SCALE

92 - 100		A

84 - 91.9		B

75 - 83.9		C

0.0 - 74.9      		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

Attendance Policy

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

## Inclement Weather or Other Emergencies

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

College Syllabus Statements

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements.”

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Alternating Current (AC) Circuits | Explain how AC circuits differ from DC circuits in at least two ways. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Measurement of Electrical Quantities in AC Circuits | Demonstrate correct use of electrical meters to Measure at least four circuit quantities in an AC circuit; Explain the difference between peak values and RMS values. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Use of Vectors to Calculate AC Circuit Quantities | Create at least three vector diagrams to illustrate relationships of individual element (resistor, inductor, and capacitor) voltage drops with the source voltage. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Inductance and Inductive Reactance | Explain inductance and inductive reactance; describe the relationship between AC current through and voltage across an inductor. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Capacitance and Capacitive Reactance | Explain capacitance and capacitive reactance; describe the relationship between AC current through and voltage across a capacitor. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Impedance in AC Circuits | Explain how individual element resistance or reactance values are combined to create the impedance for the entire circuit. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | AC Series Circuit Analysis | For a given series circuit of at least five elements, Perform circuit analysis to Determine the values of electrical quantities (voltage, current, impedance, power) for each part of the circuit to Demonstrate competence in AC circuit analysis. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | AC Parallel Circuit Analysis | For a given parallel circuit of at least five elements, Perform circuit analysis to Determine the values of electrical quantities (voltage, current, impedance, power) for each part of the circuit to Demonstrate competence in AC circuit analysis. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | AC Combination Circuit Analysis | For a given combination circuit of at least five elements, Perform circuit analysis to Determine the values of electrical quantities (voltage, current, impedance, power) for each part of the circuit to Demonstrate competence in AC circuit analysis. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Series Resonance in AC Circuits | State the mathematical relationship that must exist among the resistive, capacitive, and inductive elements in a series circuit that will result in series resonance. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Parallel Resonance in AC Circuits | State the mathematical relationship that must exist among the resistive, capacitive, and inductive elements in a parallel circuit that will result in parallel resonance. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Introduction to AC Three-Phase Power Generation | Describe what three-phase power is and why it is preferred over single-phase or even DC power for long-distance power transmission. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Single-Phase and Three-Phase Transformers | Describe the basic function of a transformer; Detail differences between a delta-connected and a wye-connected three-phase transformer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | AC Power Factor and Power Factor Correction | For a given commercial circuit power factor, leading or lagging, Describe a possible source and Defend your choice of a correction for this situation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | AC Load Analysis | Explain the importance of performing load analysis on individual phases in a power distribution system in order to aim for equally loaded phases. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |