Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 1210 	Electrical Applications

CREDITS:  3	CLASS HOURS PER WEEK:  3		PREREQUISITES: None

DESCRIPTION OF COURSE

This course involves the study and measurements relative to layout and installation techniques.  It includes the use of tools and bench work needed for the fabrication and installation of wiring and electrical/electronic controls.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Compile a list of at least ten test instruments commonly used by electricians, Describe how each one functions, and Detail a practical situation in which at least two instruments would be involved.

Outline at least five details of how a transformer functions; for a given transformer, Point Out the correct connections to achieve a list of at least five required transformed voltages.

Explain how a three-phase transformer operates; Create at least three different transformer interconnections (delta-wye, etc.) to Demonstrate competence in transformer connections.

INSTITUTIONAL LEARNING GOALS

Columbus State Community College's Institutional Learning Goals are an integral part of the curriculum and central to the mission of the college. The faculty at Columbus State has identified the following institutional learning goals (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Electrical Test Instruments; Single- and Three-Phase Transformers

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Instruction Manual for Electrical Test Instruments; Transformer Text and Workbook

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

ASSESSMENT

Columbus State Community College is committed to assessment (measurement) of student achievement of academic outcomes.  This process addresses the issues of what you need to learn in your program of study and if you are learning what you need to learn.  The assessment program at Columbus State has four specific and interrelated purposes: (1) to improve student academic achievements; (2) to improve teaching strategies; (3) to document successes and identify opportunities for program improvement; (4) to provide evidence for institutional effectiveness.  In class you are assessed and graded on your achievement of the outcomes for this course.  You may also be required to participate in broader assessment activities.

STANDARDS AND METHODS FOR EVALUATION

2 Quizzes -			20%

1 Midterm Exam -		30%

Final Exam (comprehensive)-	20%

Practical Exercises -		30%

GRADING SCALE

92 – 100	A

85 – 91		B

75 – 84		C

70 – 74		D

00 – 69		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

Attendance Policy

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

## Inclement Weather or Other Emergencies

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

College Syllabus Statements

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements.”

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Electrical Test Instruments | Compile a list of at least five test instruments commonly used by electricians. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Familiarization with Electrical Test Instruments | Describe how each test instrument listed above functions. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Functional Operation of Multimeters | Explain what measurements can be made with a multimeter. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Functional Operation of Oscilloscopes - AC Waveforms | Explain at least three of the many measurements and functions for which an oscilloscope can be used. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Test and Verification of Circuit Performance | Identify at least two ways that a circuit’s performance can be verified with test instruments. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Design and Function of Transformers | Outline at least five details of how a transformer functions. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Identification and Connection of Single-Phase Transformers | For a given multitap transformer, Point Out the correct connections to achieve a list of at least three required transformed voltages. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Autotransformers | Describe how to connect an autotransformer and how it works. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Installation of Single-Phase Transformers | Participate in the installation of a single-phase transformer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Principles of Three-Phase Transformers | Explain how a three-phase transformer operates. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Identification and Connection of Three-Phase Transformers | Describe at least three different transformer interconnections (delta-wye, etc.) to Demonstrate competence in three-phase transformer connections. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Delta-Delta Three-Phase Transformer Connection | Create a delta-delta three-phase transformer connection; identify line and phase currents and voltages. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Wye-Wye Three-Phase Transformer Connection | Create a wye-wye three-phase transformer connection; identify line and phase currents and voltages. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Delta-Wye Three-Phase Transformer Connection | Create a delta-wye three-phase transformer connection; identify line and phase currents and voltages. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Installation of Three-Phase Transformers | Participate in the installation of a three-phase transformer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |