Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 1313 	AC Theory (Comm. & Ind.)

CREDITS:  3	CLASS HOURS PER WEEK:  4		PREREQUISITES: APPL 1015, APPL 1310

DESCRIPTION OF COURSE

Elementary and advanced AC Circuits in commercial and industrial settings are introduced and analyzed to give the student a clear understanding and foundation in AC theory.  The mathematics used to calculate series and parallel RC, RL, LC, and RLC circuits is explained, along with filter theory and power factor.  Students start with a study of inductors and inductive reactance in series and parallel circuits.  Students then move to working with capacitors and capacitive reactance in a commercial and industrial setting.  In the laboratory students learn the parameters of series and parallel RL/RC and LC/RLC circuits as they relate to real world large commercial and industrial projects.  This class finishes with low- and high-pass filter design and analysis and power factor correction.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Compare and Contrast voltage and current behavior of AC and DC circuits containing an Inductor versus a Capacitor.

Design and activate appropriate series AC Circuits (RL, RC, RLC) and Explain behavior of voltages and current in those circuits.

Design and activate appropriate parallel AC Circuits (RL,RC, RLC) and Explain behavior of voltage and currents in those circuits.

Design and build one low-pass and one high-pass filter and Demonstrate performance of each one.

Explain the concept of power factor and Justify the need for power factor correction in an industrial setting.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Circuit Components and Diagnostic Equipment

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

AC Circuit Text

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Homework -		10%

Quizzes -		30%

Tests and Exams -	40%

Practical Exercises -	20%

GRADING SCALE

92 - 100		A

84 - 91.9		B

75 - 83.9		C

0.0 - 74.9      		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

COLLEGE SYLLABUS STATEMENTS

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to AC Circuits | Explain in general terms how AC power is generated and behaves in electrical circuits. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Inductors and Inductive Reactance | Compare and Contrast voltage and current behavior of AC and DC circuits containing an Inductor. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Capacitors and Capacitive Reactance | Compare and Contrast voltage and current behavior of AC and DC circuits containing a Capacitor. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Introduction to Vectors and Phase Angle | Explain what a vector is and why the concept of a phase angle is needed in AC circuits. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Analysis of Series RL Circuits | Design and activate an appropriate series RL Circuit and Explain behavior of voltages and current in that circuit. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Analysis of Series RC Circuits | Design and activate an appropriate series RC Circuit and Explain behavior of voltages and current in that circuit. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Analysis of Series RLC Circuits | Design and activate an appropriate series RLC Circuit and Explain behavior of voltages and current in that circuit. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Analysis of Parallel RL Circuits | Design and activate an appropriate parallel RL Circuit and Explain behavior of voltage and currents in that circuit. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Analysis of Parallel RC Circuits | Design and activate an appropriate parallel RC Circuit and Explain behavior of voltage and currents in that circuit. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Analysis of Parallel RLC Circuits | Design and activate an appropriate parallel RLC Circuit and Explain behavior of voltage and currents in that circuit. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Design and Analysis of Low-Pass Filters | Design and build one low-pass filter and Demonstrate its performance. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Design and Analysis of High-Pass Filters | Design and build one high-pass filter and Demonstrate its performance. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Design and Analysis of Band-Pass Filters | Design and build one band-pass filter and Demonstrate its performance. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Power Factor | Explain the concept of power factor in electrical energy transmission. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Power Factor Correction | Justify the need for power factor correction in an industrial setting. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |