Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 1315 	Principles of Transformers

CREDITS:  1	CLASS HOURS PER WEEK:  1		PREREQUISITES: None

DESCRIPTION OF COURSE

Students continue their electrical theory studies with a comprehensive overview of transformer design and practical applications. This course begins with a review of electromagnetic theory and how circuits react under AC parameters. The course continues with the theory and application of three-phase transformer connections. Students must complete in-class and homework assignments that require correct answers and mathematical proof.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

- Explain how a transformer functions in an electrical circuit and Create a list of at least five circuit applications for transformers.

- Analyze at least three transformer interconnections (two of them different three-phase connections) and Solve for values of current and voltage on both sides of the transformer.

- Calculate all appropriate circuit parameters in order to specify the proper transformer for a given installation to Demonstrate basic competence in working with transformers.

INSTITUTIONAL LEARNING GOALS

Columbus State Community College's Institutional Learning Goals are an integral part of the curriculum and central to the mission of the college. The faculty at Columbus State has identified the following institutional learning goals (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

AC Circuits Text and Workbook; Transformer Text and Workbook; AC and DC Generator Text

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

ASSESSMENT

Columbus State Community College is committed to assessment (measurement) of student achievement of academic outcomes.  This process addresses the issues of what you need to learn in your program of study and if you are learning what you need to learn.  The assessment program at Columbus State has four specific and interrelated purposes: (1) to improve student academic achievements; (2) to improve teaching strategies; (3) to document successes and identify opportunities for program improvement; (4) to provide evidence for institutional effectiveness.  In class you are assessed and graded on your achievement of the outcomes for this course.  You may also be required to participate in broader assessment activities.

STANDARDS AND METHODS FOR EVALUATION

Quizzes -			20%

Exams (Midterm and Final) -	50%

Practical Exercises -		30%

GRADING SCALE

92 – 100%	A

85 – 91%	B

75 – 84%	C

70 – 74%	D

00 – 69%	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

Attendance Policy

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

## Inclement Weather or Other Emergencies

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

College Syllabus Statements

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements.”

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Review of Magnetism and Electromagnetism | Explain the interaction of a flowing electric current with a magnetic field and Point Out how each one can be used to create the other (Faraday Induction). | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Transformer Operation Principles | Explain how a transformer functions in an electrical circuit and Create a list of at least five circuit applications for transformers. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Transformer Connections | Analyze at least three transformer interconnections and Solve for values of current and voltage on both sides of the transformer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Autotransformers | Analyze at least two autotransformer interconnections and Solve for values of current and voltage on both sides of the transformer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Buck-Boost Transformers | Analyze at least two multiple winding transformer interconnections and Solve for values of current and voltage on both sides of the transformer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Current Transformers | Describe how this special kind of transformer is constructed and how it can function as a form of ammeter. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Transformer Selection and Installation | Calculate all appropriate circuit parameters in order to specify the proper transformer for a given installation to Demonstrate basic competence in working with transformers. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Transformer Maintenance and Troubleshooting | Troubleshoot a transformer problem and resolve the problem successfully. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Functional Operation of DC Generators | Describe the basic functions involved in DC generator operation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Functional Operation of AC Generators | Describe the basic functions involved in AC generator operation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Power Generation and Distribution | Integrate the principles of AC generator operation with those of transformers to Describe the basics of power generation and distribution. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Introduction to Three-Phase Systems | Prepare simple three-phase diagrams to Explain the generation and transformation of three-phase AC power. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Delta-Delta Three-Phase Transformer Connections | Analyze the delta-delta three-phase transformer connection and Solve for line and phase current and voltage in primary and secondary sides of the transformer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Wye-Wye Three-Phase Transformer Connections | Analyze the wye-wye three-phase transformer connection and Solve for line and phase current and voltage in primary and secondary sides of the transformer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Delta-Wye and Wye-Delta Three-Phase Transformer Connections | Analyze the delta-wye three-phase transformer connection and Solve for line and phase current and voltage in primary and secondary sides of the transformer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |