Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 1350 	Voice & Data Systems I

CREDITS:  2	CLASS HOURS PER WEEK:  2		PREREQUISITES:  None

DESCRIPTION OF COURSE

This course combines multimedia presentations, in-class demonstrations, group and individual hands-on projects along with extensive lessons to explore topics related to Residential and Commercial Information systems.  Upon completion, students will be able to demonstrate improved competency in copper terminations, grounding requirements, testing and installation methods.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Describe at least five electrical properties of information systems, and Assess the relative importance of at least three aspects involved in designing and installing residential and commercial information systems.

Compile a list of at least five hazard areas involved in information systems, and Identify two specific dangers to personal safety in each area, with a focus on grounding requirements.

Compare and Contrast information systems cabling options in at least five categories, and Demonstrate competence in performing  copper terminations.

Given a complete set of residential and commercial information system requirements, Configure, Install, and Test an actual system to Demonstrate basic competence in information system configuration, installation, and testing.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Information Systems Components, Materials, and Tools

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Commercial and Industrial Information Systems Text

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

3 Quizzes -			30%

1 Midterm Exam -		20%

Final Exam (comprehensive)-	30%

Practical Exercises -		20%

GRADING SCALE

92 – 100	A

85 – 91		B

80 – 84		C

75 – 79		D

00 – 74		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

COLLEGE SYLLABUS STATEMENTS

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Residential and Commercial Information Systems | List at least five important goals for an effective residential and commercial information systems activity. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Electrical Properties of Information Systems | Describe at least five electrical properties of information systems, and Assess the relative importance of at least three aspects involved in designing and installing residential and commercial information systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Transmission Line Fundamentals | Discuss fundamental aspects of transmission line performance, pointing out frequency-dependent issues and differences from power distribution. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Safety Codes for Residential and Commercial Information Systems | Compile a list of at least five hazard areas involved in information systems, and Identify two specific dangers to personal safety in each area, with a focus on grounding requirements. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Grounding (Earthing), Bonding, and Electrical Protection | Compile a list of at least five hazard areas involved in information systems, and Identify two specific dangers to personal safety in each area, with a focus on grounding and bonding. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Firestopping | List at least three possible areas of concern for information systems with reference to firestopping. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Information System Pathways and Spaces | Given an existing information system, Critique the allowances for pathways and spaces involved in its installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Information System Architecture | Diagram a comprehensive architecture for an information system, showing alternative options where possible. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Unshielded Twisted Pair Cabling Systems | Compare and Contrast unshielded twisted pair cabling information systems in at least five categories, and Demonstrate competence in performing copper terminations. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Shielded Twisted Pair and Coaxial Cabling Systems | Compare and Contrast shielded twisted pair and coaxial cabling information systems in at least five categories. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Optical Fiber Low-Voltage Cabling Systems | Compare and Contrast optical fiber cabling information systems in at least five categories, and Demonstrate competence in performing optical fiber terminations. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Configuring Residential and Commercial Information Systems | Given a complete set of residential and commercial information system requirements, Configure an actual system to Demonstrate basic competence in information system configuration. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Installing and Testing Residential and Commercial Information Systems | Given a complete set of residential and commercial information system requirements, Install and Test an actual system to Demonstrate basic competence in information system installation and testing. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Field Coordination | Prepare a field coordination plan for a new information system installation or a major upgrade to an existing installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Retrofits and Upgrades | In at least five steps, Plan a retrofit or an upgrade to an existing information system to Demonstrate competence in retrofit or upgrade practices. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |