Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 1510 		Introduction to Grounding and Bonding

CREDITS:  2	CLASS HOURS PER WEEK:  2		PREREQUISITES:  None

DESCRIPTION OF COURSE

This course is designed to introduction, the learner with an understanding of the importance of using accepted deﬁnitions and methodologies applicable to grounding and bonding.  The importance of providing a low-impedance path of proper capacity to ensure the operation of overcurrent protective devices.  The various components of the grounding and bonding system.  How Ohm’s law and basic electrical theory are key to understanding faults and fault paths.  The severe electric shock hazards and its effect on the human body; plus the damage to equipment resulting from improper fault protection.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

- Explain the “performance requirements” relative to the “prescriptive requirements” of NEC Article 250, and the importance of providing clean surfaces for grounding and bonding connections.

- Explain the requirements for grounding electrodes and materials not permitted for usage as an electrode and/or their restrictions

- Describe the primary distinction between grounding and bonding

- Explain the differences and advantages of using an equipment grounding conductor verses a grounded circuit conductor for grounding of equipment

INSTITUTIONAL LEARNING GOALS

Columbus State Community College's Institutional Learning Goals are an integral part of the curriculum and central to the mission of the college. The faculty at Columbus State has identified the following institutional learning goals (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Electrical Grounding and Bonding, Phil Simmons, 3rd Edition, Delmar Cengage Learning, ISBN-13:978-1-4354-9832-7

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

ASSESSMENT

Columbus State Community College is committed to assessment (measurement) of student achievement of academic outcomes.  This process addresses the issues of what you need to learn in your program of study and if you are learning what you need to learn.  The assessment program at Columbus State has four specific and interrelated purposes: (1) to improve student academic achievements; (2) to improve teaching strategies; (3) to document successes and identify opportunities for program improvement; (4) to provide evidence for institutional effectiveness.  In class you are assessed and graded on your achievement of the outcomes for this course.  You may also be required to participate in broader assessment activities.

STANDARDS AND METHODS FOR EVALUATION

Assignments			20%

Quizzes			20%

Exams (Midterm and Final) 	40%

Exercises 			20%

GRADING SCALE

92 – 100%	A

85 – 91%	B

75 – 84%	C

70 – 74%	D

00 – 69%	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

Attendance Policy

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

## Inclement Weather or Other Emergencies

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

College Syllabus Statements

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements.”

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | General Requirements | Explain the “performance requirements” relative to the “prescriptive requirements” of NEC Article 250, and the importance of providing clean surfaces for grounding and bonding connections. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Grounding and Bonding Safety Considerations | Assemble at least eight safety-related situations involving grounding and bonding. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Personal Protective Clothing | Choose at least five clothing items to use in dealing with the above eight safety-related situations involving grounding and bonding. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Personal Protective Equipment | Choose at least five devices or tools to use in dealing with the above eight safety-related situations involving grounding and bonding. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | System Grounding | Explain grounding requirements for grounded systems, separately derived systems, and system conductors requiring grounding. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Grounding Electrode Systems | Explain the requirements for grounding electrodes and materials not permitted for usage as an electrode and/or their restrictions. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Grounding Electrode Conductors | Demonstrate the proper selection and sizing of a Grounding Electrode Conductor per the NEC table 250.66. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Enclosure Connections | Explain the grounding requirements for service enclosures and non-service related enclosures. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Service Raceways | Explain the grounding requirements for service raceways. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Service Cables | Explain the grounding requirements for service cables. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Bonding | Describe the primary distinction between grounding and bonding. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Equipment Grounding | Explain the types of acceptable equipment grounding conductors and their proper identification requirements. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Equipment Grounding Conductors | Demonstrate the proper selection and sizing of an Equipment Grounding Conductor per the NEC table 250.122. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Methods of Equipment Grounding | Explain the differences and advantages of using an equipment grounding conductor verses a grounded circuit conductor for grounding of equipment. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Grounding Requirements for Special Occupancies | Define an equipotential plane and its primary role employed for swimming pools and agricultural buildings. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |