Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 1550 	Building Automation

CREDITS:  3	CLASS HOURS PER WEEK:  4		PREREQUISITES: None

DESCRIPTION OF COURSE

This is a survey course of recent developments in building energy efficiency systems and apparatus as well as an introduction into commercial building energy audit procedures. This course will introduce students to three strands: Lighting systems including light sources and controls, an examination of commercial building energy audit procedures and processes as they relate to building control systems, and the integration of disparate building systems including HVAC devices and control systems, hydronic systems, security devices and systems, fire alarm systems and communication systems.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Compile a list of at least five control devices for electrical and lighting systems; Assess the benefits from the process of daylight harvesting.

Create a list of control devices for various HVAC systems, and Identify the relative benefits of the components of a typical energy audit.

For a given building situation with specified environmental control systems, Prepare an automation integration plan to Demonstrate competence in addressing building automation.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Building Automation Text

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

2 Quizzes -			20%

1 Midterm Exam -		30%

Final Exam (comprehensive)-	20%

Practical Exercises -		30%

GRADING SCALE

92 – 100	A

85 – 91		B

80 – 84		C

75 – 79		D

00 – 74		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

COLLEGE SYLLABUS STATEMENTS

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Building Automation | Describe recent advances in building automation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Electrical Systems Components and Controls | Compile a list of at least five control devices for electrical systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Electrical Systems Applications | List at least three applications for an electrical system in a typical building. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Lighting Systems Components and Controls | Compile a list of at least five control devices for lighting systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Lighting Systems Applications | List at least three applications for a lighting system in a typical building. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Daylight Harvesting | Assess the benefits from the process of daylight harvesting. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | HVAC Systems Components and Controls | Create a list of control devices for various HVAC systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | HVAC Systems Applications | List at least three applications for an HVAC system in a typical building. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Energy Audit Procedures and Processes | Identify the relative benefits of the components of a typical energy audit. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Communication Systems Components | Compile a list of components for various communications systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Communication Systems Applications | List at least three applications for a communications system in a typical building. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Security Systems Components | Compile a list of components for various security systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Security Systems Applications | List at least three applications for a security system in a typical building. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Fire Alarm Systems | Compile a list of components for a typical fire alarm system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Integration of Disparate Building Control Systems | For a given building situation with specified environmental control systems, Prepare an automation integration plan to Demonstrate competence in addressing building automation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |