Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 1660	Plumbing Codes II

CREDITS:  2	CLASS HOURS PER WEEK:  2                PREREQUISITES: None

DESCRIPTION OF COURSE:

This course will expand the learner’s knowledge of the Current Ohio Plumbing Code and those theories, which lie at the foundation for these requirements.  Students will review the structure, format, and overall scheme of the Ohio Plumbing Code.  This course will expanded upon proper plumbing terminologies, materials, and equipment installation requirements as detailed in Chapters 4-6.  This course will cover those codes pertaining to the repair and maintenance of plumbing systems and associated fixtures and appliances.

STUDENT LEARNING OUTCOMES

- Explain the structure of the Ohio Plumbing Code and its administration process

- Explain the process for selecting fixtures for a project

- Explain the primary functions and operation shared by all water heaters

- Explain the process and formulas used to determine the size of distribution systems

GENERAL EDUCATION OUTCOMES

Columbus State Community College's general education outcomes are an integral part of the curriculum and central to the mission of the college. The faculty at Columbus State has determined that these outcomes include the following competencies:

- Critical Thinking

- Scientific Literacy

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Demonstration Tools, and plumbing materials.

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Text: 		2015 International Plumbing Code

Author:		International Code Council

Publisher:		International Code Council, Inc.

Year: 		2015

ISBN-13: 		978-1-6098-3481-4

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, and Technical Videos

ASSESSMENT

Columbus State Community College is committed to assessment (measurement) of student achievement of academic outcomes.  This process addresses the issues of what you need to learn in your program of study and if you are learning what you need to learn.  The assessment program at Columbus State has four specific and interrelated purposes: (1) to improve student academic achievements; (2) to improve teaching strategies; (3) to document successes and identify opportunities for program improvement; (4) to provide evidence for institutional effectiveness.  In class you are assessed and graded on your achievement of the outcomes for this course.  You may also be required to participate in broader assessment activities.

STANDARDS AND METHODS FOR EVALUATION

Practical Exercises	10%

Homework Assignments	30%

Quizzes 	30%

Final Written Exam 	30%

GRADING SCALE

91 % – 100 %	A

81 % – 90 %	B

71 % – 80 %	C

61 % – 70 %	D

00 % – 60 %	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

Attendance Policy

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

## Inclement Weather or Other Emergencies

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

College Syllabus Statements

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements.”

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Minimum Plumbing Facilities | List three exceptions to the rule for provision of separate facilities for men and women. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Installation of Fixtures | Recite the requirements for the design and installation of overflows. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Bathtubs, Bidets, Clothes Washers, and Dishwashers | Detail the water supply and waste connection requirements for at least two of these fixtures. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Floor and Trench Drains | Summarize the requirements for floor drains as to access, strainers, and minimum size. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Lavatories, Showers, Sinks, Urinals, and Water Closets | Detail the water supply and waste connection requirements for at least three of these fixtures. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Health Care Fixtures and Equipment | Recite the device categories that shall be provided protection against backflow, flooding, water supply contamination, and drain stoppage. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Faucets and Other Fixture Fittings | Explain the requirements used to specify individual shower or tub/shower combination valves. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Water Heater Installation and Connections | List installation requirements for elevation, protection, and clearance for maintenance and replacement; specify cold water line valve location. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Water Heater Safety Devices | Discuss requirements for a relief valve, discharge piping, and an antisiphon device. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Water Required; Water Service | Indicate to what plumbing fixtures potable (drinkable) water shall be supplied; list the exceptions to the 5-foot separation requirement for water service and building sewer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Design of Building Water Distribution System | Name at least three exceptions to the maximum flow rates and water consumption listed in Table 604.4. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Installation of Building Water Distribution System | List at least five water supply locations requiring full-open valves and three general locations requiring shutoff valves. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Hot Water Supply System | Provide details concerning the maintenance of hot water supply temperature and provision of control for thermal expansion. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Protection of Potable Water Supply | Describe at least five different devices or means for backflow prevention. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Disinfection of Potable Water System | Recite the procedural steps listed in the code for disinfecting a potable water system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |

WEEKLY UNITS OF INSTRUCTION