Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 1750 	Fundamentals of Instrumentation

CREDITS:  2	CLASS HOURS PER WEEK:  2		PREREQUISITES:  None

DESCRIPTION OF COURSE

This is a sixty hour hands-on course that provides training in the skills required to install and calibrate instruments used for process control applications. This is a basic course that emphasizes those skills relating to specific instruments used to measure pressure, temperature, flow, or level and are identified as the basic understanding required by anyone working in this rapidly changing industry. A trainer is available for hands-on training which makes this course the best available for electrical workers.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

- Compile a list of at least six process characteristics requiring measurement, and Indicate at least one instrument capable of making the required measurement.

- Compare and Contrast the characteristics of two different instruments as to their accuracy, durability, ease of installation, ease of calibration, and cost.

- Choose three different process instruments, perform an installation on two, and perform maintenance on the third to Demonstrate competence in instrument installation and maintenance.

- Generate a list of at least ten instructions for removal and repair of an assigned process instrument to Demonstrate basic competence in instrument removal and repair.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Various Process Control Measurement Instruments

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Process Control Instrumentation Text; Instrument User Manuals

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Quizzes -			20%

Exams (Midterm and Final) -	50%

Practical Exercises -		30%

GRADING SCALE

92 – 100%	A

85 – 91%	B

75 – 84%	C

70 – 74%	D

00 – 69%	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS |  |  | ASSIGNMENT DUE DATE |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Process Instrumentation | Compile a list of at least six process characteristics requiring measurement, and Indicate at least one instrument capable of making the required measurement. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |  |
| Learning Unit 2 | Instrumentation Definitions and Symbols | Create a table of symbols used to represent instruments in process diagrams with accompanying definitions. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |  |
| Learning Unit 3 | Instruments for Measuring Pressure | Compare and Contrast the characteristics of two different pressure instruments as to their accuracy, durability, ease of installation, ease of calibration, and cost. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |  |
| Learning Unit 4 | Instruments for Measuring Temperature | Compare and Contrast the characteristics of two different temperature instruments as to their accuracy, durability, ease of installation, ease of calibration, and cost. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |  |
| Learning Unit 5 | Instruments for Measuring Flow | Compare and Contrast the characteristics of two different flow instruments as to their accuracy, durability, ease of installation, ease of calibration, and cost. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |  |
| Learning Unit 6 | Instruments for Measuring Level | Compare and Contrast the characteristics of two different level instruments as to their accuracy, durability, ease of installation, ease of calibration, and cost. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |
| Learning Unit 7 | Instruments for Measuring Angular Velocity (Rotation Speed) | Compare and Contrast the characteristics of two different angular velocity instruments as to their accuracy, durability, ease of installation, ease of calibration, and cost. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |
| Learning Unit 8 | Instruments for Measuring Angular Displacement | Compare and Contrast the characteristics of two different angular displacement instruments as to their accuracy, durability, ease of installation, ease of calibration, and cost. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |
| Learning Unit 9 | Instruments for Measuring Linear Displacement | Compare and Contrast the characteristics of two different linear displacement instruments as to their accuracy, durability, ease of installation, ease of calibration, and cost. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |
| Learning Unit 10 | Instruments for Measuring Weight | Compare and Contrast the characteristics of two different weight instruments as to their accuracy, durability, ease of installation, ease of calibration, and cost. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |
| Learning Unit 11 | Fundamentals of Instrument Calibration | Choose instruments measuring two different properties and describe the calibration procedure for each one. Tell how calibration affects accuracy. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |
| Learning Unit 12 | Instrument Installation Practices | Choose two different process instruments and perform an installation on them. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |
| Learning Unit 13 | Instrument Maintenance Practices | Perform maintenance on another process instrument to Demonstrate competence in instrument installation and maintenance. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |
| Learning Unit 14 | Instrument Removal Practices | Generate a list of at least five instructions for removal of an assigned process instrument to Demonstrate basic competence in instrument removal. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |
| Learning Unit 15 | Instrument Repair Practices | Generate a list of at least five instructions for repair of an assigned process instrument to Demonstrate basic competence in instrument repair. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |  |  |