Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2013 	Applied Overcurrent Protection

CREDITS:  3	CLASS HOURS PER WEEK:  3		PREREQUISITES: None

DESCRIPTION OF COURSE

Students will take a comprehensive look at overcurrent protection for systems of less than 600 volts. Topics include the purpose for overcurrent protection, types of overcurrent, short circuits, device ratings and categories. More advanced topics include selective coordination, tap rules, calculations of bolted fault currents, motor branch circuits, and transformer protection. Students will use skills learned in previous grounding and bonding lessons and will apply their code knowledge to practical field applications.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

- Generate a table illustrating at least three different overcurrent situations, and Detail the factors involved in correctly calculating the maximum overcurrent in each case.

- Summarize the essential characteristics of overcurrent protection devices (OCPD), and List at least two examples.

- Formulate the tap rules (branch circuits, secondary circuits, etc.) to emphasize the location and amperage levels of overcurrent protection.

- Create an annotated table of code-compliant techniques for calculating fault currents and overcurrent protection levels for various situations to include three-phase transformer bolted fault currents, ground faults, motor fault currents, and others.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Grounding and Bonding Equipment and Materials

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Overcurrent Protection Text; National Electric Code (NEC) Manual

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Quizzes -			20%

Exams (Midterm and Final) -	50%

Practical Exercises -		30%

GRADING SCALE

92 – 100%	A

85 – 91%	B

75 – 84%	C

70 – 74%	D

00 – 69%	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Overcurrent Protection | Create a list of at least five electrical installation situations which require effective overcurrent protection. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Overcurrent Situations - Overloads, Short Circuits, and Ground Faults | Generate a table illustrating at least three different overcurrent situations, and Detail the factors involved in correctly calculating the maximum overcurrent in each case. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Selection of Overcurrent Protection Device (OCPD) Ratings | Summarize the essential characteristics of overcurrent protection devices (OCPDs); Comment on the over/under 800 amp rule. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Types of OCPD - Circuit Breakers | Describe the functioning of a circuit breaker used to switch fluorescent lighting fixtures. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Types of OCPD - Fuses | Describe how a fuse functions as an OCPD. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Supplementary OCPDs | Mention two or three places where one might expect to find a supplementary OCPD. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Conductor Tap Rules and Supervised Industrial Installations | Formulate the tap rules (branch circuits, secondary circuits, etc.) to emphasize the location and amperage levels of overcurrent protection. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Branch Circuits, Feeders, and Services | Discuss the different considerations one must apply to size an OCPD for a branch vs. a feeder circuit. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Fully-Rated and Series-Rated Systems | Discuss the different considerations one must apply to size an OCPD for a fully-rated vs. a series-rated system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Transformer Protection | Start an annotated table of code-compliant techniques for calculating fault currents and overcurrent protection levels for various situations to include three-phase transformer bolted fault currents. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Ground Fault Protection | Add to an annotated table of code-compliant techniques for calculating fault currents and overcurrent protection levels for equipment ground fault currents. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Component Protection | Add to an annotated table of code-compliant techniques for calculating fault currents and overcurrent protection levels for individual component protection. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Motor and Equipment Protection | Add to an annotated table of code-compliant techniques for calculating fault currents and overcurrent protection levels for motor and equipment ground fault currents. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Location of OPCDs on Premises | Review the requirements and exceptions for locating OCPDs on any premises. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Mounting of Enclosures | Discuss why OCPDs are to be mounted vertically if possible. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |