Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2056 	Electrical Troubleshooting

CREDITS:  2	CLASS HOURS PER WEEK:  2		PREREQUISITES:  None

DESCRIPTION OF COURSE

This course involves troubleshooting advanced three-phase systems, calculating tray fills and troubleshooting motor branch circuits, fiber optics, HVAC, cable faults, and other areas in large commercial and industrial system applications.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

- Compile a list of at least ten best practices for troubleshooting a problem, and Categorize each as generally useful or specific to the solution of a particular electrical problem.

- Devise a troubleshooting approach with at least five steps to locating a fault in an electrical cable; Compute the proper solution to solve a given cable tray fill issue.

- Choose one from a  set of issues involving electical systems (HVAC, fiber optic, three-phase, etc.) and Propose an effective troubleshooting approach to a solution.

- Generate an effective troubleshooting approach for identifying and solving a specified industrial control problem to Demonstrate competence in troubleshooting.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Various Industrial Electrical Systems with Problems

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Electrical Troubleshooting Text

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Quizzes -			20%

Exams (Midterm and Final) -	50%

Practical Exercises -		30%

GRADING SCALE

92 – 100%	A

85 – 91%	B

75 – 84%	C

70 – 74%	D

00 – 69%	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Electronics Troubleshooting | Compile a list of at least ten best practices for troubleshooting a problem, and Categorize each as generally useful or specific to the solution of a particular electrical problem. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Principles of Troubleshooting | Practice the “seven steps” method for troubleshooting any problem, especially one in the electrical/electronic area. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Troubleshooting Cable Tray Fill Issues | Compute the proper solution to solve a given cable tray fill issue. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Troubleshooting Cable Faults | Devise a troubleshooting approach for locating a fault in an electrical cable. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Troubleshooting Electrical Wiring | Devise a troubleshooting approach for locating a problem in residential or commercial wiring. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Troubleshooting Electrical Circuit Breakers | Devise a troubleshooting approach for locating a problem in an electrical circuit breaker. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Troubleshooting Lightning Protection Systems | Devise a troubleshooting approach for locating a problem in a lightning protection system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Troubleshooting Fiber Optic Systems | Devise a troubleshooting approach for locating a problem in a fiber optic system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Troubleshooting HVAC Systems | Devise a troubleshooting approach for locating a problem in an HVAC system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Troubleshooting Transformer Problems | Devise a troubleshooting approach for locating a problem in a transformer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Troubleshooting Three-Phase Systems | Devise a troubleshooting approach for locating a problem in a three-phase power distribution system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Troubleshooting Motor Branch Circuits | Devise a troubleshooting approach for locating a problem in a motor branch circuit. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Troubleshooting Programmable Logic Controllers | Devise a troubleshooting approach for locating a problem in a programmable logic controller. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Troubleshooting Industrial Controls | Generate an effective troubleshooting approach for identifying and solving a specified industrial control problem. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Troubleshooting Other Areas | Choose a problem in an area not mentioned above and devise an effective troubleshooting approach for solving that problem. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |