Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2060	Plumbing Fundamentals III

CREDITS:  3	CLASS HOURS PER WEEK:  3		PREREQUISITES: None

DESCRIPTION OF COURSE:

This course will introduce learners to the next level of the plumbing profession.  Students will review Applied Plumbing Math, and sizing plumbing systems and their related equipment.  This course will continue to introduce and explain plumbing terminologies and differences between plumbing systems and materials.  This course will expose students to plumbing’s methodologies for protecting public health and safety, while providing comfort.  The three phases of a plumbing project will frame the majority of this course.

STUDENT LEARNING OUTCOMES

- Explain weights and measurements of area, volume, temperature, pressure, and force

- Explain disinfection, filtration, and softening procedures of potable water systems

- Explain different types of venting for DWV systems and how they function

- Explain installation, diagnosis, and repair of pumps and related controls

- Explain the principles of compressed air systems and their principal components

- Explain the principles of refrigeration systems and their principal components

- Explain the principles of effective customer service

PROGRAM OUTCOMES

- Recognize a plumbing safety situation in the workplace and recommend appropriate safe practices to be followed.

- Use appropriate plumbing tools competently to complete plumbing projects.

- Read, understand, and interpret plumbing blueprints and drawings as they relate to the Ohio Plumbing Code.

- Analyze a given plumbing problem and recommend an effective solution.

- Apply skills to effectively design, install, maintain, or repair wastewater and potable water systems.

- Demonstrate leadership in plumbing job-related situations to organize, manage, and control available resources effectively.

- Join plumbing components capably using appropriate techniques, including soldering, brazing, welding, and threading.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Demonstration Tools, and plumbing materials.

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Level 3 Plumbing: Trainee Guide, NCCER Team, 3rd Edition, Pearson Education, ISBN13: 978-0-13-227301-2

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Videos, and Lab Projects

STANDARDS AND METHODS FOR EVALUATION

Attendance	10%

Homework Assignments	30%

Quizzes 	30%

Final Written Exam 	30%

GRADING SCALE

91 % – 100 %	A

81 % – 90 %	B

71 % – 80 %	C

61 % – 70 %	D

00 % – 60 %	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Applied Math | Explain weights and measurements of area, volume, temperature, pressure, and force | Homework Assignment, Quiz, Test, Practical Exercise | Read: Module One Due: Assigned Review Questions |  |
| Learning Unit 2 | Sizing Water Supply Piping | Explain calculation methods of sizing systems requirements and demand parameters | Homework Assignment, Quiz, Test, Practical Exercise | Read: Module Two Due: Assigned Review Questions |  |
| Learning Unit 3 | Potable Water Treatment | Explain disinfection, filtration, and softening procedures of potable water systems | Homework Assignment, Quiz, Test, Practical Exercise | Read: Module Three Due: Assigned Review Questions |  |
| Learning Unit 4 | Backflow Preventers | Explain backflow prevention devices and their functions | Homework Assignment, Quiz, Test, Practical Exercise | Read: Module Four Due: Assigned Review Questions |  |
| Learning Unit 5 | Types of Venting | Explain different types of venting for DWV systems and how they function | Homework Assignment, Quiz, Test, Practical Exercise | Read: Module Five Due: Assigned Review Questions |  |
| Learning Unit 6 | Sizing DWV and Storm Systems | Explain calculation methods of sizing systems requirements for DWV and Storm systems | Homework Assignment, Quiz, Test, Practical Exercise | Read: Module Six Due: Assigned Review Questions |  |
| Learning Unit 7 | Sewage Pumps and Sump Pumps | Explain installation, diagnosis, and repair of pumps and related controls | Homework Assignment, Quiz, Test, Practical Exercise | Read: Module Seven Due: Assigned Review Questions |  |
| Learning Unit 8 | Corrosive-Resistant Waste Piping | Explain proper installation methods and selection of corrosive-resistant waste piping | Homework Assignment, Quiz, Test, Practical Exercise | Read: Module Eight Due: Assigned Review Questions |  |
| Learning Unit 9 | Compressed Air | Explain the principles of compressed air systems and their principal components | Homework Assignment, Quiz, Test, Practical Exercise | Read: Module Nine Due: Assigned Review Questions |  |
| Learning Unit 10 | Elementary Refrigeration Methods | Explain the principles of refrigeration systems and their principal components | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Introduction to Compressors | Explain installation and servicing of compressors | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Thermostatic Expansion Valves | Explain installation and servicing of thermostatic expansion valves | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Refrigerant Recovery Methods | Explain legal requirements and techniques for recovery of refrigerants | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Maintaining a Quality Service Attitude | Explain aspects of a quality service attitude | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Exceeding the Customer’s Expectations | Explain what it means to meet and then exceed a customer’s expectations | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |