Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2070 	Industrial Boilers & Regulations

CREDITS:  4	CLASS HOURS PER WEEK:  4 Lecture		PREREQUISITES:  None

DESCRIPTION OF COURSE

This course builds a fundamental understanding of various types of commercial and industrial boilers and boiler systems. Students will be thoroughly immersed in safety procedures and issues related to the operation of boilers. The course will cover applicable state and local codes relating to boiler performance and operation. Finally, this course will prepare students to take the High-Pressure Boiler License Examination.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

- Describe the construction of a steam boiler, using water tube and starfire fire tube boilers as examples.

- For a given commercial or industrial boiler installation, describe the systems of instrumentation and control applied to the boiler itself.

- Provide insight into the considerations involved in optimizing the operation of a commercial steam boiler.

- Thoroughly critique typical questions that might appear on the state licensing exam for high pressure boiler operators.

PROGRAM OUTCOMES

- Understand the role and function of mechanical equipment service (MES) workers in the construction industry.

- Interrelate the mechanical equipment service work the MES workers perform with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the mechanical equipment service (MES) trade.

- Demonstrate skills and proper work practices in all MES installation, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of all MES work.

- Demonstrate the proper use of safety procedures in all mechanical equipment service (MES) installation and repair activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Various Boilers and/or Simulators, Boiler Property Measurement and Test Devices, Associated Tools and Materials.

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

UA Committee. Steam Systems, First Edition. United Association, Upper Marlboro, MD: 2010

Wilson, Dean R. Boiler Operator's Workbook, Third Edition. American Technical Publishers, Oakland Park, IL: 2005.

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Homework -			25%

Exercises -			20%

Quizzes -			25%

Final Exam -			30%

GRADING SCALE

90 % – 100 %   A

80 % – 89.9 %	B

70 % – 79.9 %	C

00 % – 69.9 %	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Boiler Theory and Principles | Recite briefly the theory of steam boilers and their operating principles. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Boiler Construction and Design | Describe the construction of a steam boiler, using water tube and starfire fire tube boilers as examples. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Water Supply Systems and Controls | Describe a typical water supply system for an industrial boiler, and indicate typical controls. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Water Treatment Systems and Controls | Comment briefly on water treatment systems for commercial boilers, and indicate typical controls. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Fuel Systems and Controls | Describe typical fuel systems for industrial boilers and the controls placed on those fuel systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Draft and Flue Gas Systems and Controls | Describe typical draft and flue gas systems for industrial boilers and the controls placed on those systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Instrumentation and Control Systems | For a given commercial or industrial boiler installation, describe the systems of instrumentation and control applied to the boiler itself. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Boiler Operation and Maintenance | List the activities involved in operating and maintaining a commercial or industrial boiler. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Boiler System Optimization | Provide insight into the considerations involved in optimizing the operation of a commercial steam boiler. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Properties of Saturated Steam | Recite several properties of saturated steam. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | One- and Two-Pipe Steam Heating Systems | Compare and contrast the operation and performance of one-pipe versus two-pipe steam heating systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Vacuum and Vapor Steam Heating Systems | Compare and contrast the operation and performance of vacuum versus vapor steam heating systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Steam Piping and Steam Heating Unit Connections | Provide detailed drawings and lists of lengths and sizes of steam pipe and heating unit connections for a typical industrial steam heating installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Heat Transfer Equipment | Compile a list of specifications for heat-transfer equipment needed for a typical commercial steam heating installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Review for State of Ohio Boiler Licensing Exam | Thoroughly critique typical questions that might appear on the state licensing exam for high pressure boiler operators. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |