Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2110	Motor Theory and Operation

CREDITS:  2	CLASS HOURS PER WEEK:  2.5		PREREQUISITES: None

DESCRIPTION OF COURSE:

This course will provide learners with a comprehensive overview of motor operation, maintenance, installation, and troubleshooting.  This course is designed to develop basic competencies in electrical apprentices.  Learners will cover magnetism and electromagnetism as they apply to motor operation for proper understanding of sizing, braking, starting, variable frequency drives, bearings, drive systems, clutches, and alignment of motors.  This course will include safety procedures compliant to NFPA 70E.  This course will cover the National Electric Code articles relevant to sizing and protection of power and control circuits for motors.

STUDENT LEARNING OUTCOMES

- Explain how self-induction in inductors produces inductive reactance.

- List and explain the steps in producing AC power from an alternator.

- List and describe five types of motor energy losses.

- Describe the difference between a starter and a regulator for a wound-rotor motor.

- Describe the operation of a capacitor motor.

- Explain the reverse dial method of motor alignment.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Demonstration Tools, Electrical Materials, Motors, Motor Control Equipment, and Electrical Test Equipment.

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Motors, NJATC Staff Contributors, Second Edition, American Technical Publishers, ISBN13: 978-0-8269-1982-3 American Technical Publishers

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Videos, and Lab Projects

STANDARDS AND METHODS FOR EVALUATION

Homework -		10%

Quizzes -		30%

Tests and Exams -	40%

Practical Exercises -	20%

GRADING SCALE

92 - 100		A

84 - 91.9		B

75 - 83.9		C

0.0 - 74.9      		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Magnetism and Induction | Describe the difference between magnetic flux and magnetic flux density. Explain how self-induction in inductors produces inductive reactance. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | AC Alternators | Describe the construction of an alternator. List and explain the steps in producing AC power from an alternator. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Three Phase Motors | Describe how a stator is constructed. List and describe five types of motor energy losses. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Squirrel-Cage and Wound-Rotor Motors | List the parts of an induction motor’s rotor. Describe the difference between a starter and a regulator for a wound-rotor motor. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Synchronous Motors | Explain why a synchronous motor must operate at synchronous speed. List the types of relays used with synchronous motor. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Single Phase Motors | Describe the operation of a shaded-pole motor. Describe the operation of a split-phase motor. Describe the operation of a capacitor motor. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Motor Protection | Describe why overcurrent protection devices are used. List and describe the different types of circuit breakers. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | DC Motors and Generators | Describe how the differences in winding connections result in the different types of DC motors. Explain the similarities and differences between a DC motor and a DC generator. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Motor Starting | List the reduced-voltage starting methods. List the methods used to reduce motor starting currents. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Motor Braking | Explain how a friction brake is used to stop a motor. Describe how a DC field is used in electric braking. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Multispeed Motors | Describe the operation of a two-speed consequent motor. Explain how to change speeds on Schrage motors. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Adjustable Speed Drives | Describe the three main components of an adjustable-speed drive. Describe the operation of inverter and vector drives. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Bearings, Drive Systems, and Clutches | Describe several methods for lubricating bearings. Explain how chains or belts are used to transfer torque and change load speeds. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Troubleshooting Motors | Describe the major causes of motor failure. Explain how to identify unmarked motor leads. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |

| Learning Unit 15 | Special Application Motors | Describe the operation of stepper motors and servomotors. Describe the operation of a rotary phase converter. | Homework Assignment, Quiz, Test, Practical Exercise | Read: Chapter 19 Due: Answer Review Questions |  |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |