Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2120 	Interior Finish II

CREDITS:  2	CLASS HOURS PER WEEK:  2		PREREQUISITES: APPL 1620

DESCRIPTION OF COURSE

The contents include cabinet installation, roofing systems, door hardware certification and countertop installation.  Also included is basic door hardware, shelving and fixtures, store front trims and components, ADA-compliant access, and standing seam roofs.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Differentiate between hardware for wood doors and that for other door systems; Specify door hardware for an assigned door installation.

Generate a design for an assigned ADA-compliant access situation, including approaches, entry and exit devices.

Design and Construct an example installation to include cabinets, a countertop, shelving, and fixtures.

Summarize the requirements to be met by all roofing systems. Justify the installation of a standing seam roof for an assigned construction situation.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Construction Materials, Tools

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Interior Finish Text

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

3 Quizzes -			15%

1 Midterm Exam -		25%

Final Exam (comprehensive)-	30%

Practical Exercise -		30%

GRADING SCALE

92 – 100	A

85 – 91		B

75 – 84		C

70 – 74		D

00 – 69		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Basic Door Hardware | Differentiate between hardware for wood doors and that for other door systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Door Hardware Certification | Specify door hardware for an assigned door installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Wood Doors and Frames | Categorize wood doors and frames into three or four lists based mostly on cost or value. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Exit Hardware and Closers | Prioritize a list of exit hardware and closers based on the level of security offered by each one. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Cabinet Installation | Design and Construct an example installation to include cabinets. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Countertop Installation | Design and Construct an example installation to include a countertop. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Shelving and Fixtures | Design and Construct an example installation to include shelving, and fixtures. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Store Front Trims and Components | Present an offering of store front trims and associated components to a commercial customer for review. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Electronic Security Products | Rank a list of electronic security devices and systems as to cost versus level of protection offered. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Roofing Systems | Summarize the requirements to be met by all roofing systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Standing Seam Roofs | Justify the installation of a standing seam roof for an assigned construction situation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | ADA-Compliant Access for New Construction | Generate a design for an assigned ADA-compliant access situation, including approaches, entry and exit devices. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | ADA-Compliant Access for Additions and Alterations | Prepare a list of items to be considered for accessibility when an addition is designed for an existing facility. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | ADA-Compliant Residential Facilities | List at least five items or areas that must be involved (doors, counter heights, etc.) in creating an ADA-compliant house. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | ADA-Compliant Commercial Buildings | List at least five categories of public buildings (restaurants, libraries, etc.) that must comply with ADA regulations both for access and for internal facilities. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |