Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2160	Plumbing Codes III

CREDITS:  2	CLASS HOURS PER WEEK:  2                PREREQUISITES: None

DESCRIPTION OF COURSE:

This course will expand the learner’s knowledge of the Current Ohio Plumbing Code and those theories that lie at the foundation for these requirements.  Students will review the structure, format, and overall scheme of the Ohio Plumbing Code.  This course will expand upon proper plumbing terminologies, materials, and equipment installation requirements as detailed in Chapters 7-10.  This course will cover those codes pertaining to the repair and maintenance of plumbing systems and associated fixtures and appliances.

STUDENT LEARNING OUTCOMES

- Explain the purpose of separate sewer connections and the principal difference between sumps and ejectors

- Explain the primary concerns of special waste and backflow prevention

- Explain the primary purpose of drainage vents and vent pipe sizing

- Explain the functional differences between traps, interceptor, and separators

PROGRAM OUTCOMES

- Recognize a plumbing safety situation in the workplace and recommend appropriate safe practices to be followed.

- Use appropriate plumbing tools competently to complete plumbing projects.

- Read, understand, and interpret plumbing blueprints and drawings as they relate to the Ohio Plumbing Code.

- Analyze a given plumbing problem and recommend an effective solution.

- Apply skills to effectively design, install, maintain, or repair wastewater and potable water systems.

- Demonstrate leadership in plumbing job-related situations to organize, manage, and control available resources effectively.

- Join plumbing components capably using appropriate techniques, including soldering, brazing, welding, and threading.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Demonstration Tools, and plumbing materials.

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Text: 		2015 International Plumbing Code

Author:		International Code Council

Publisher:		International Code Council, Inc.

Year: 		2015

ISBN-13: 		978-1-6098-3481-4

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, and Technical Videos

STANDARDS AND METHODS FOR EVALUATION

Practical Exercises	10%

Homework Assignments	30%

Quizzes 	30%

Final Written Exam 	30%

GRADING SCALE

91 % – 100 %	A

81 % – 90 %	B

71 % – 80 %	C

61 % – 70 %	D

00 % – 60 %	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Building Sewer and Drainage Piping Installation | State the conditions for connecting existing building sewers to new sewer and drainage systems; indicate how drainage piping diameter shall not change in the direction of flow. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Connections between Drainage Piping and Fittings | State how fittings are to be installed regarding sewage flow; list at least three prohibited joints and connections. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Cleanouts | Detail the location requirements for at least three required cleanout locations. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Drainage System Sizing | Explain how to use the information in Table 710.1(1) in conjunction with Table 709.1 to determine the maximum number of fixtures to be connected to a building sewer, drain, or horizontal drain branch of a given diameter and slope. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Sumps and Ejectors | Indicate how discharge piping from sumps and ejectors is to be connected to building drainage systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Health Care Plumbing | In addition to other code requirements, Identify at least five instances of a requirement for installing a trap and/or a vent in health care plumbing. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Indirect and Special Wastes | List at least five sources of waste that must be indirectly connected to the sanitary drainage system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Outdoor Vent Extensions and Vent Terminals | Denote situations for which a vent shall extend to the outdoors, and detail the ways that these vents shall be terminated. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Vent Connections and Grades | Specify the minimum height above the highest fixture or trap for connecting a vent pipe to a vent stack or a stack vent; Explain how vent pipes must be graded or sloped. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Various Vents: Fixture, Individual, Common, Wet, Waste Stack, and Circuit. | For at least three of the listed vents, Detail the possible location(s) of vent connection(s) to the drainage system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Combination Drain and Vent System | List the only fixtures permitted to be connected to a combination drain and vent system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Island Fixture Venting | Recite the only fixtures permitted to be connected to an island fixture vent. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Vents for Stack Offsets and Vent Pipe Sizing | Detail how stack offsets are to be vented, and when; Explain how table 916.1 relates waste stack diameter, developed vent length, and vent diameter to the total number of fixture units that can be supported. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Trap Requirements | Provide details for sizing, locating, sealing, leveling, and recessing fixture traps. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Interceptors and Separators | Distinguish between interceptors (sand, grease) and separators (oil); give details of requirements for venting, access, and maintenance. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |