Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2210 	Motor Control Systems

CREDITS:  4	CLASS HOURS PER WEEK:  5		PREREQUISITES: APPL 2050

DESCRIPTION OF COURSE

This course provides an introduction to motors and motor control systems in commercial and industrial settings. Students are introduced to DC, fractional horsepower AC, and polyphase AC motors; basic motor control applications; and both manual and automatic operating devices.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Arrange a list of at least five motor types with pertinent characteristics; Present an installation plan for one of these motors.

Choose five motor control components and/or devices, and Design ladder diagram circuits correctly using these devices to Demonstrate competence in applying motor control components.

For a given industrial motor control problem, Create and Document a motor control circuit that solves the problem to Demonstrate competence in working with motor control circuits.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Industrial Motors and Associated Motor Control Equipment

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Motor Control Text; Motor User Manuals

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Homework -		10%

Quizzes -		30%

Tests and Exams -	40%

Practical Exercises -	20%

GRADING SCALE

92 - 100		A

84 - 91.9		B

75 - 83.9		C

0.0 - 74.9      		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Motors and Motor Control | Create a detailed history of the development of electric motors and the controls that have been developed to enhance their usefulness. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | AC Fractional Horsepower Motors | Arrange a list of pertinent characteristics of AC fractional horsepower motors. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | DC Motors | Arrange a list of pertinent characteristics of DC motors. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Repulsion and Universal Motors | Arrange a list of pertinent characteristics of repulsion and universal motors. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Polyphase Motors | Arrange a list of pertinent characteristics of polyphase motors | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Motor Installation | Present an installation plan for one of the above listed motors. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | General Principles of Motor Control | Discuss the general principles and goals of motor control, and assess the currrent state of industry in reaching those goals. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Manual Starters and Magnetic Coils | Design a ladder diagram circuit correctly using magnetic starters and magnetic coils to Demonstrate competence in applying motor control components. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Overcurrent and Phase Failure Relays | Design a ladder diagram circuit correctly using overcurrent and phase failure relays to Demonstrate competence in applying motor control components. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Push Buttons, Selector Switches, and Mechanical Pilot Devices | Design a ladder diagram circuit correctly using pushbuttons, selector switches, and mechanical pilot devices to Demonstrate competence in applying motor control components. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Control Relays and Timers | Design a ladder diagram circuit correctly using control relays and timers to Demonstrate competence in applying motor control components. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Electronic Relays and Pilot Devices | Design a ladder diagram circuit correctly using electronic relays and pilot devices to Demonstrate competence in applying motor control components. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Control Transformers | Design a ladder diagram circuit correctly using a control transformer to Demonstrate competence in applying motor control components. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Basic Two-Wire and Three-Wire Control Circuits | For a given industrial motor control problem, Create and Document a two-wire and a three-wire control circuit that solves the problem to Demonstrate competence in working with motor control circuits. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Reversing and Sequential Motor Controls | Describe in simple terms how a reversing and/or a sequential motor control circuit achieves its desired result. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |