Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2219 	Motor Control: VFD

CREDITS:  3	CLASS HOURS PER WEEK:  3		PREREQUISITES:  None

DESCRIPTION OF COURSE

This course continues to build on motor control skills by introducing VFD (Variable Frequency Drives) as a viable option for the start/stop and RPM control of Motors.  Topics include: Fundamentals of VFDs, AC Frequency verses Motor RPM, Motor Slip, Fundamentals of PWM (Pulse Width Modulation), Diode Bridge/Filter/ IGBT (Insulated Gate Bipolar Transistor) Methods, IGBT verse SCR for Output Inverters, Cost Saving Applications for VFD, VFD Startup Proceedures, and Interconnection of VFD with Energy Management Systems.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

- Recite at least five characteristics of the fundamentals of VFD and Motor Control.

- Explain PWM and why it is desired over Square Wave Modulation for control of motors.

- List three reasons for using IGBT rather than SCR for VFD construction.

- Explain I/O connections requried for connecting a VFD to an Energy Management System.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; PC Terminals with PLC Software Loaded

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

VFD Text and Operator Manual

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Homework -		10%

Quizzes -		30%

Tests and Exams -	40%

Practical Exercises -	20%

GRADING SCALE

92 - 100		A

84 - 91.9		B

75 - 83.9		C

0.0 - 74.9      		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements .”

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Fundamentals of Variable Frequency Drives (VFD) | Recite at least five characteristics of the fundamentals of VFD and Motor Control. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | AC Frequency Related to Motor RPM | Discuss the relationship of AC line frequency and motor RPM. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Fundamentals of Motor Slip | Explain Motor Slip and Acceptable tolerances. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Fundamentals of Pulse Width Modulation (PWM) | Explain PWM and why it is desired over Square Wave Modulation for control of motors. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | VFD Controller | Identify the main subsystems of the VFD controller. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | VFD Diode Bridge Section | Define the function of this VFD component. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | VFD Filter Section | Define the function of this VFD component. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | VFD Insulated Gate Bipolar Transistor (IGBT) Section | Define the function of this VFD component. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | IGBT and SCR types of Output Inverters | List three reasons for using IGBT rather than SCR for VFD construction. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Applications for VFD Installations | Outline typical VFD applications and their benefit over other techniques. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | VFD Startup and Maintenance Procedures | List the steps for starting a new VFD installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | VFDs and Energy Management Systems | Explain I/O connections requried for connecting a VFD to an Energy Management System. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | VFD System Benefits | Detail the two major benefits to be obtained by using VFD motor control. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Drawback: AC Line Harmonics | Explain how a VFD system can create harmonic distortion in the AC line input. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Dynamic Braking and Regenerative Drives | Contrast the benefits and costs of dynamic braking versus use of a regenerative drive. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |