Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2320 	Concrete III

CREDITS:  2	CLASS HOURS PER WEEK:  2		PREREQUISITES: APPL 1720

DESCRIPTION OF COURSE

The contents include concrete stair forming systems, tilt-up walls, pre-cast wall panels and slip forms.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Recommend an appropriate stair-forming system for two different assigned construction situations; Construct a set of stairs using one of these systems

Compare and Contrast the advantages of tilt-up walls vs. precast panels for an assigned construction situation; Conclude which approach would be better for that situation.

Construct a workable concrete slip form assembly to Demonstrate competence in this phase of concrete form construction.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Concrete Form Construction Materials; Tools

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Concrete Stair and Wall Form Construction Text

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

2 Quizzes -			20%

1 Midterm Exam -		20%

Final Exam (comprehensive)-	30%

Practical Exercise -		30%

GRADING SCALE

92 – 100	A

85 – 91		B

75 – 84		C

70 – 74		D

00 – 69		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Concrete Stair- and Wall-Forming Systems | Recite a brief history of the development of concrete stair and wall structures created on-site and precast away from the construction site. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Introduction to Poured Concrete Steps | Prepare a critique of two different sites for poured concrete steps, including site preparation and total volume of the pour. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Poured Concrete Step Construction | Construct a set of poured concrete steps for a given site with given outcome requirements. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Introduction to Concrete Stair-Forming Systems | List several types of concrete formwork commonly used in constructing steps and other parts of structures. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Concrete Stair-Forming Construction | Construct a set of stairs using an appropriate stair-forming system for two different assigned construction situations. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Introduction to Precast Concrete Steps | Create a list of pros and cons related to using precast concrete steps for a construction project. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Precast Concrete Step Construction | Create specifications for precast concrete steps for two different sites with different widths, heights, and potential loads. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Introduction to Poured Concrete Walls | Recite at least five advantages of poured concrete walls over other wall components for home and commercial construction. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Poured Concrete Wall Construction | Participate in the forming and pouring of a concrete wall, including reinforcement. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Introduction to Tilt-up Concrete Walls | Detail the construction steps necessary to create and utilize tilt-up concrete walls at a construction site. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Tilt-up Concrete Wall Construction | Compare and Contrast the advantages of tilt-up walls vs. precast panels for an assigned construction situation; Conclude which approach would be better for that situation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Introduction to Precast Concrete Wall Panels | List several advantages for precasting concrete panels in a precast panel plant as compared with casting the panels on site. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Pre-cast Concrete Wall Panel Construction | Identify a construction use for each of the four precast wall panel types: sandwich, plastered sandwich, inner layer, and cladding panels. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Introduction to Concrete Slip Forms | Review briefly the history of continuous casting (slip forming) of concrete structures in the US. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Vertical Concrete Slip Form Construction | Construct a workable concrete slip form assembly to Demonstrate competence in this phase of concrete form construction. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |