Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2450 	Fire Alarm Systems

CREDITS:  1	CLASS HOURS PER WEEK:  1		PREREQUISITES:  APPL 1313

DESCRIPTION OF COURSE

Basic and advanced fire and smoke alarm systems are discussed in large commercial and industrial settings.  Advanced code calculations for initiating devices and for notification appliances are discussed.  Student will be able to install, start checkout procedure, and maintain and troubleshoot fire alarm systems.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Generate a list of at least five NEC (National Electric Code) references regarding Fire Alarms; List at least three other national standards involving fire alarms.

Diagram the essential details of a basic fire detection circuit, a basic smoke detection circuit, and basic notification circuits for both.

Perform an example installation, startup, and checkout of a fire alarm system to Demonstrate competence in dealing with fire alarm systems.

Critique in at least five areas the necessity to install microprocessor-based fire alarm systems for integrated and interconnected commercial and industrial applications.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Fire and Smoke Detection and Alarm Equipment

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Fire Alarm Text; National Electric Code

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Homework -		10%

Quizzes -		30%

Tests and Exams -	40%

Practical Exercises -	20%

GRADING SCALE

92 - 100		A

84 - 91.9		B

75 - 83.9		C

0.0 - 74.9      		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Fire Alarm Systems | Recite a brief history of fire warning systems, including the development of smoke and heat detecting and alarming devices. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Fire Alarm Codes and Standards | Generate a list of at least five National Electric Code (NEC) references regarding Fire Alarms; List at least three other national standards involving fire alarms. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Fire Alarm Symbols and Terminology | List the symbols and terms that are commonly used in the fire alarm industry. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Fire and Smoke Detection and Notification Devices | Diagram the essential details of a basic fire detection circuit, a basic smoke detection circuit, and basic notification circuits for both. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Fire Alarm System Fundamentals | Diagram the essential details of a basic fire detection circuit, a basic smoke detection circuit, and basic notification circuits for both. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Fire Alarm Installation | Perform an example installation of a fire alarm system to Demonstrate competence in dealing with fire alarm systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Fire Alarm Startup and Checkout Procedures | Perform an example startup and checkout of a fire alarm system to Demonstrate competence in dealing with fire alarm systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Fire Alarm Maintenance and Troubleshooting | Detail methods to isolate and identify malfunctioning fire alarm components. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | System Integrity and Supervision | Discuss methods for monitoring fire alarm system integrity and for implementing system supervision. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | System Periodic Testing | Create and post a testing schedule for the fire alarm system in a visible place and provide for dated check-off of tests. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Inspections | Accompany an inspector who is checking fire alarm systems and note those items of importance to the inspector. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Systems Integration | Participate on a team involved in integrating systems in a commercial building to assure proper inclusion of the fire alarm system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Fire Suppression Systems | Check and assure that the fire alarm system is properly linked and coordinated with any fire suppression systems in the building. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Advanced Technology Fire Alarm Systems | Critique in at least five areas the necessity to install microprocessor-based fire alarm systems for integrated and interconnected commercial and industrial applications. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Installation Project Specifications | Review and comment on the installation specifications for a fire alarm project, especially if it involves integration with other monitoring and protection systems in the building. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |