Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2460	Plumbing Codes IV

CREDITS:  2	CLASS HOURS PER WEEK:  2                PREREQUISITES: None

DESCRIPTION OF COURSE:

This course will expand the learner’s knowledge of the Current Ohio Plumbing Code and those theories that lie at the foundation for these requirements.  This course will expand upon proper plumbing terminologies, materials, and equipment installation requirements as detailed in Chapters 11 & 12.  This course will cover those codes pertaining to the repair and maintenance of plumbing systems and associated fixtures and appliances.

STUDENT LEARNING OUTCOMES

- Explain the purpose of roof and subsoil drains and their connection to storm systems and sump pumps

- Explain the primary concerns of medical gases and their storage

- Explain the purpose of Oxygen System’s separation from other systems

- Explain related standards which lie at the foundation of international and state code requirements.

PROGRAM OUTCOMES

- Recognize a plumbing safety situation in the workplace and recommend appropriate safe practices to be followed.

- Use appropriate plumbing tools competently to complete plumbing projects.

- Read, understand, and interpret plumbing blueprints and drawings as they relate to the Ohio Plumbing Code.

- Analyze a given plumbing problem and recommend an effective solution.

- Apply skills to effectively design, install, maintain, or repair wastewater and potable water systems.

- Demonstrate leadership in plumbing job-related situations to organize, manage, and control available resources effectively.

- Join plumbing components capably using appropriate techniques, including soldering, brazing, welding, and threading.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Demonstration Tools, and plumbing materials.

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Text: 		2015 International Plumbing Code

Author:		International Code Council

Publisher:		International Code Council, Inc.

Year: 		2015

ISBN-13: 		978-1-6098-3481-4

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, and Technical Videos

STANDARDS AND METHODS FOR EVALUATION

Practical Exercises	10%

Homework Assignments	30%

Quizzes 	30%

Final Written Exam 	30%

GRADING SCALE

91 % – 100 %	A

81 % – 90 %	B

71 % – 80 %	C

61 % – 70 %	D

00 % – 60 %	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Storm Drainage Materials | List five drainage pipe materials that would qualify to be used for building sewer pipe OR subsoil drainage pipe. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Storm Water Traps | Specify the possible locations in a drainage system for the installation of storm water traps. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Conductors and Connections | List prohibited uses for conductor pipes, and Identify the location for the connection of the building storm drain where a combined sewer system is used. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Roof Drains | Specify the height of roof drain strainers, as well as inlet areas for such strainers and for flat-surface type strainers used on parking decks. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Size of Conductors, Leaders, and Storm Drains | Explain how Table 1106.2 combines horizontal roof area and the local 100-year hourly rainfall rate to choose the size of vertical conductors and other parts of a storm drainage system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Secondary (Emergency) Roof Drains | Detail the considerations to be taken when sizing and siting the discharge for a secondary roof drain. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Combined Sanitary and Storm System | Specify how to take into account the number of fixture units on the sewer as well as roof area and rainfall rate when sizing the piping for a combined sanitary and storm system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Values for Continuous Flow | Explain how to convert a continuous flow rate into a roof area and rainfall rate for the purpose of sizing the storm drainage piping. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Controlled Flow Roof Drain Systems | Specify the number of roof drains and the sizing method for runoff controllers for a given controlled flow roof drain system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Subsoil Drains | Detail the structure of subsoil pipe, need for a backwater valve, and discharge location for a subsoil drain. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Building Subdrains | Recite the requirements for discharge of building subdrains located below the level of the public sewer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Sumps and Pumping Systems | List the specifications for the pumping system, pump capacity, sump pit dimensions, and piping size for typical sumps. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Medical Gases | Name the exceptions to requiring medical gases, inhalation anesthetic systems and vacuum piping systems to conform to NFPA 99C. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Oxygen Systems | Give the NFPA standards to which nonmedical oxygen systems must conform. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Referenced Standards | Explain how the plumbing code is to be considered when its requirements differ from those of a referenced standard. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |