Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2473 	Industrial Chiller Systems & Cooling Towers

CREDITS:  3	CLASS HOURS PER WEEK:  3 Lecture		PREREQUISITES:  None

DESCRIPTION OF COURSE

This course provides a foundational understanding of commercial and industrial chiller type refrigeration systems, the installation and location of cooling towers and/or other thermal exchange techniques, and the installation of cooled water circulation/distribution.  This course will cover the service and installation of VAV boxes and air movement rooms.  This course will also cover ammonia refrigeration systems and recent advances in the use of novel materials in the refrigeration cycle. Finally, the course will also expose the student to industrial ice machines.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

- Outline the parts of the hydronic cooling cycle and explain the purpose of each part.

- Recite the procedures involved in sizing the pumps and distribution piping for a commercial MES cooling installation.

- Outline the operating principles for a high-efficiency industrial cooling installation, noting differences from a traditional installation.

- List and describe several MES industrial and commercial applications for refrigeration not noted previously.

PROGRAM OUTCOMES

- Understand the role and function of mechanical equipment service (MES) workers in the construction industry.

- Interrelate the mechanical equipment service work the MES workers perform with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the mechanical equipment service (MES) trade.

- Demonstrate skills and proper work practices in all MES installation, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of all MES work.

- Demonstrate the proper use of safety procedures in all mechanical equipment service (MES) installation and repair activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Various Commercial and Industrial Chiller Refrigeration Systems and/or Simulators, Measurement and Test Instruments, Associated Tools and Materials.

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

UA Committee. Hydronic Heating and Cooling, First Edition. United Association, Upper Marlboro, MD: 2009

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Homework -			25%

Exercises -			20%

Quizzes -			25%

Final Exam -			30%

GRADING SCALE

90 % – 100 %   A

80 % – 89.9 %	B

70 % – 79.9 %	C

00 % – 69.9 %	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to MES Industrial Chiller Systems | Briefly sketch the development of chiller systems for the industrial market. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Hydronic Cooling Introduction | Provide details of hydronic cooling principles, with emphasis on the cooling aspects. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | The Hydronic Cooling Cycle | Outline the parts of the hydronic cooling cycle and explain the purpose of each part. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Equipment Selection and Pipe Sizing | List the criteria involved in selecting equipment and sizing the pipe for a commercial MES cooling installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Control and Control Problems | Provide insight into the control issues and possible problems with a commercial MES cooling installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Sizing Procedures for Pump and Distribution Piping | Recite the procedures involved in sizing the pumps and distribution piping for a commercial MES cooling installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Sizing the Chiller Piping and Auxiliary Equipment | Recite the procedures involved in sizing the chiller piping and auxiliary equipment for a commercial MES cooling installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Sizing the Cooling Tower Piping and Selecting the Cooling Tower Pump | Recite the procedures involved in sizing the cooling tower piping and selecting the cooling tower pump for a commercial MES cooling installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Installation of Equipment and Piping | Provide a set of steps for the installation of all the equipment and piping for a commercial MES cooling installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | High-Efficiency Equipment Installation Methods | Describe crucial differences involved in the installation of high-efficiency process equipment for an MES cooling application. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Principles of High-Efficiency Operation | Outline the operating principles for a high-efficiency industrial cooling installation, noting differences from a traditional installation. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | MES Commercial and Industrial Ammonia Systems | Review the characteristics of refrigerant fluids and point out the benefits of ammonia as a refrigerant. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | MES Commercial Ice Machines | Detail the needed equipment and installation process steps for providing an MES commercial ice machine. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | MES Refrigeration Applications | List and describe several MES industrial and commercial applications for refrigeration not noted previously. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Troubleshooting MES Refrigeration Systems | Outline a process for troubleshooting an MES refrigeration system, with specific steps for at least one application noted previously. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |