Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2610 	Cable Splicing I

CREDITS:  2	CLASS HOURS PER WEEK:  2		PREREQUISITES:  None

DESCRIPTION OF COURSE

This is the first module of the Electrical Trades Center hands-on cable splicing course. This module covers hand-taped splices and terminations. The course presents information on several types of cable splices. Most have high voltage applications; however, many of the splice technologies are used in all areas of electrical installation. Materials are presented from many different manufacturers of cable splicing materials.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Compile a list of at least ten tools or materials used in splicing cables; Explain the use of each one.

Propose at least three aspects of cable splicing that involve electrical hazards, and Detail at least five specific hazards. Relate the necessity and techniques for grounding high voltage cables.

Choose at least two different splices (straight, pothead, tee, etc.) and Create the splices to Demonstrate competence in basic cable splices.

Create a plan of at least ten steps to rig, install, and terminate a spliced cable; Detail the actions to be taken at each step.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; High Voltage Cables; Cable Splicing and Termination Materials

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

High Voltage Cable Splicing and Termination Text

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Homework -		10%

Quizzes -		30%

Tests and Exams -	40%

Practical Exercises -	20%

GRADING SCALE

92 - 100		A

84 - 91.9		B

75 - 83.9		C

0.0 - 74.9      		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Cable Splicing | Recite a brief history of cable splicing, including various cable diameters and operating voltages. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Cable Splicing Tools and Materials | Compile a list of at least ten tools or materials used in splicing cables; Explain the use of each one. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | High Voltage Theory | Briefly outline the theory behind transmitting electrical power at high voltage levels. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | High Voltage Safety Issues | Detail at least five specific electrical hazards related to high voltage transmission, and find at least three hazards specific to splicing issues. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | High Voltage Grounding Requirements | Relate the necessity and techniques for grounding high voltage cables. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Code References for Cable Splicing | List references from the NEC for cable splicing; mention any other applicable standards for cable splicing. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Conductor Configurations and Insulation | Profile at least three configurations of the conductors in a high-voltage cable, and discuss the ways that these conductors are insulated from each other and the outside world. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Cable Splice Preparation | Discuss the appropriate abrasive for removing dielectric insulation from a cable, and review the use of solvents in preparing a cable for splicing. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Straight Splices | Create a straight splice to Demonstrate competence in basic cable splices. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Pothead Splices | Create a pothead splice to Demonstrate competence in basic cable splices. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Tee Splices | Create a tee splice to Demonstrate competence in basic cable splices. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Stress Relief Practice and Theory | Review the theory behind the relief of electric stress on cable conductors and the practical means of shaping dielectric insulation to provide maximum relief at a termination point. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Cable Terminations | Discuss the requirements for each of the three classes of cable termination according to IEEE Std. 48-1974. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Cable Rigging | Create a plan of at least five steps to rig a spliced cable; Detail the actions to be taken at each step. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Cable Installation | Based on the rigging plan from above, Create a plan of at least five steps to install a spliced cable; Detail the actions to be taken at each step. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |