Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2613 	Cable Splicing II

CREDITS:  2	CLASS HOURS PER WEEK:  2		PREREQUISITES:  None

DESCRIPTION OF COURSE

This is the second module of the Electrical Trades Center hands-on cable splicing course. This module covers several methods of terminating cable, Tee splices, and Protective Grounds. The hands-on exercises include the construction of a 5kV and 15kV termination and 15kV Tee splice, lead splicing, pulling cables and testing and fault location. Materials are presented from many different manufacturers of cable splicing materials.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

Create a cable testing logic diagram or a decision tree with at least five steps or branches, including hazard avoidance, to Demonstrate an understanding of high voltage cable testing and fault location.

Develop an action plan of at least ten steps, including a list of at least five items - tools and equipment - for pulling a high voltage cable in or through an enclosed space; Detail a plan (minimum of ten steps) to safely terminate the high voltage cable in a cable vault.

Choose one high voltage cable and Perform an assigned splice; then Perform a termination of that cable to Demonstrate competence in high voltage cable splicing and termination.

Compare and Contrast at least five features in each of the available commercial termination kits; Recommend one of the kits for a given termination, and Defend your choice.

PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry.

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the trade that they have chosen.

- Demonstrate skills and proper work practices in all building, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work.

- Demonstrate the use of proper safety procedures in all activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; High Voltage Cables; Cable Splicing and Termination Materials

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

High Voltage Cable Splicing and Termination Text

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Homework -		10%

Quizzes -		30%

Tests and Exams -	40%

Practical Exercises -	20%

GRADING SCALE

92 - 100		A

84 - 91.9		B

75 - 83.9		C

0.0 - 74.9      		E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Review of High-Voltage Cable Splicing Techniques | Provide a brief outline of current techniques for splicing high-voltage cables. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | High Voltage Testing Fundamentals | Create a cable testing logic diagram or a decision tree with at least five steps or branches, including hazard avoidance, to Demonstrate an understanding of high voltage cable testing. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | High Voltage Testing Safety | Prepare a list of at least five safety issues involved in working with high-voltage cables. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | High Voltage Testing Tools and Equipment | Recite at least eight tools or pieces of equipment that are regularly used in testing high-voltage systems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Methods for Locating Cable Faults | Deliver details of at least one method, other than direct observation, for locating a high-voltage cable fault | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Cable Pull Preparation and Safety | Develop an action plan of at least ten steps, including a list of at least five items - tools and equipment - for pulling a high voltage cable in or through an enclosed space. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Cable Spaces and Enclosures | Discuss requirements for spaces in which to install a high-voltage cable; List code requirements for an appropriate enclosure to house a terminated high-voltage cable. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | High Voltage Tee Splice | Create a high-voltage tee splice to Demonstrate competence in high-voltage cable splices. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | High Voltage Hot Lead Splicing | Create a high-voltage hot lead splice to Demonstrate competence in high-voltage cable splices. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | High Voltage Pothead Splice | Create a high-voltage pothead splice to Demonstrate competence in high-voltage cable splices. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Stress Relief Design | Reveal design details for providing electrical stress relief for two of the above high-voltage splices. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | High Voltage Cable Terminations | Perform a Class I termination of a high-voltage cable to Demonstrate competence in high-voltage cable termination. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | 3M Cable Termination Kits | List at least three each of pros and cons regarding the 3M termination kit for high-voltage cables. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Raychem Cable Termination Kits | Compare and Contrast at least five features in the 3M and Raychem commercial termination kits. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Specialty Cable Terminations | Recite details of the only exception to IEEE Std. 48-1962 covering most high-voltage cable terminations. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |