Columbus State Community College

Design, Construction, and Trades Department

Skilled Trades Technology

COURSE: APPL 2673 	Intermediate Air Circulation Techniques

CREDITS:  3	CLASS HOURS PER WEEK:  3 Lecture		PREREQUISITES:  None

DESCRIPTION OF COURSE

This course builds on knowledge obtained from the first Air Circulation course. The student will gain practical experience by designing commercial and industrial mechanical equipment service (MES) systems and by specifying the equipment for those systems. Important factors in creating those designs include load balancing techniques and calculations for both heat gain and loss.

STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

- Review the basic concepts covered in the previous course and look ahead to the issues of balancing and adjusting the installed system.

- Go over information about air flow in ducts and know how to avoid basic pitfalls in duct design.

- Specify instruments for measuring air temperature, humidity, pressure, and velocity in the ductwork, and note well the locations for most reliable readings.

- Accomplish the feat of balancing an air handling system and release it for the use and enjoyment of the customer.

PROGRAM OUTCOMES

- Understand the role and function of mechanical equipment service (MES) workers in the construction industry.

- Interrelate the mechanical equipment service work the MES workers perform with the other trades in the overall scope of a construction project.

- Apply underlying theories and principles that are foundational to the mechanical equipment service (MES) trade.

- Demonstrate skills and proper work practices in all MES installation, renovation, or repair activities.

- Be qualified and prepared to become a lead worker and/or mentor to others on construction and maintenance job sites.

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of all MES work.

- Demonstrate the proper use of safety procedures in all mechanical equipment service (MES) installation and repair activities.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILGs) identified below (BOLD - applies to this course):

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; MES Air Handling Systems and/or Simulators, Psychrometric Charts, Software for Air Flow, Humidity, and Heat Gain/Loss Calculations, Sensors and Test Instruments to Perform Air Handling and Load Balancing Calculations.

TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Auvil, Ronnie J. HVAC and Refrigeration Systems Training Manual, First Edition. American Technical Publishers Oakland Park, IL: 2014

UA Committee. Start, Test and Balance, Third Edition. United Association, Upper Marlboro, MD: 2009

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Video

STANDARDS AND METHODS FOR EVALUATION

Homework -			25%

Exercises -			20%

Quizzes -			25%

Final Exam -			30%

GRADING SCALE

90 % – 100 %   A

80 % – 89.9 %	B

70 % – 79.9 %	C

00 % – 69.9 %	E

SPECIAL COURSE REQUIREMENTS

This course is restricted to students presently studying under the direction and oversight of an approved apprenticeship program, working in partnership with Columbus State Community College.

ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

INCLEMENT WEATHER and OTHER EMERGENCIES

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations. Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on a day the college is closed will be due the next scheduled class period. If an examination is scheduled for a day the campus is closed, the examination will be given on the next class day. If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class. If necessary, laboratory make-up may be held on a Saturday. Please review the academic department specific policy relative to clinical, practicum, of other missed time due to weather related college closings.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus. If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab. Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled. The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam. This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

COLLEGE SYLLABUS STATEMENTS
Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at  www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEEKLY UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Introduction to Testing, Balancing and Adjusting | Review the basic concepts covered in the previous course and look ahead to the issues of balancing and adjusting the installed system. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 2 | Review of Basic Science and the Properties of Air | Review the principles of heating and cooling air and those of air movement. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 3 | Review of the Psychrometric Chart | Review the purposes for the psychrometric chart and what the key properties are that it displays. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 4 | Problems in Psychrometric Applications | Refresh capabilities to use the psychrometric chart to solve a variety of air-handling and conditioning problems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 5 | Air Distribution Systems and Accessories | Review possible systems for air handling and take note of the typical accessories. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 6 | Air Flow in Ducts | Go over information about air flow in ducts and know how to avoid basic pitfalls in duct design. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 7 | Fans | Plan for adequate fan capacity and note the importance of proper placement of fans in the ductwork. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 8 | Tachometers; Belt Drives | Specify capable tachometers for measuring fan speed, and note problems that can arise with belt drives. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 9 | Instruments for Measuring Air Temperature and Humidity | Specify instruments to measure air temperature and humidity in the ductwork and in the spaces affected by the conditioned air. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 10 | Instruments for Measuring Air Pressures | Specify instruments for measuring air pressure in the ductwork, and note well the locations for most reliable readings. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 11 | Instruments for Measuring Air Velocity | Specify instruments for measuring air velocity in the ductwork. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 12 | Applications of Instruments for Measuring Air Velocities | Note well the locations for most reliable air velocity readings and plan to use those readings. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 13 | Start-Up and Initial Tests of Air Handling Systems | Plan ahead for the initial testing phase with potential adjustments to address potential problems. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 14 | Balancing Air Distribution Systems | Gain experience in tuning and balancing air distribution systems; it is an art form. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 15 | Commissioning an Air Handling System | Accomplish the feat of balancing an air handling system and release it for the use and enjoyment of the customer. | Homework Assignment, Quiz, Test, Practical Exercise |  |  |
| Learning Unit 16 | Final Exam | Comprehensive | Final Exam |  |  |