Columbus State Community College

Design, Construction & Trades Department

Environmental Science, Safety & Health

COURSE NUMBER: ESSH 2530

COURSE TITLE: Applied Environmental Engineering

INSTRUCTOR:	Faculty deemed qualified according to accreditation and/or the State of Ohio

CONTACT:  Jeff Bates, Ph.D., Professor, Program Coordinator, jbates@cscc.edu, 614-287-3652

CREDITS: 2		LECTURE HOURS PER WEEK: 1		LAB HOURS PER WEEK: 2

PREREQUISITES:  None

DESCRIPTION OF COURSE: This course introduces engineered environmental systems and practical applications of their operation and maintenance. Topics include flow diagrams, schematics, plumbing and piping, pumps, blowers, electrical systems, instrumentation, flow measurements, process control, troubleshooting and safety for engineered systems.

COURSE STUDENT LEARNING OUTCOMES:

The student will be able to:

- describe the principles of environmental engineered systems;

- identify the various elements of simple engineering and architectural drawings;

- explain the basic operation of mechanical equipment commonly used on environmental engineered projects;

- explain basic electrical theory, read schematics of electrical systems, and categorize electrical system equipment; and

- interpret flow diagrams used on environmental projects, examine piping systems, and perform simple plumbing tasks

PROGRAM OUTCOMES:

- Assist in the operation and maintenance of systems used to control pollution, remediate contaminated materials, or treat water as required by environmental laws.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING:

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILG) identified below:

5. Technological Competence

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

EQUIPMENT AND COURSE MATERIALS REQUIRED: The student is required to have a three-ring binder to store course materials, a ruler, and a scientific calculator.

TEXTBOOK(S), MANUALS, REFERENCES, AND OTHER READINGS: No required textbook, various readings may be provided in class or on Blackboard.

GENERAL INSTRUCTIONAL METHODS: Lecture, videos, field trip(s), research report, and laboratory activities.

STANDARDS AND METHODS FOR EVALUATION:  The breakdown for evaluation is as follows:

Laboratory activities and field trip report(s)	 30%

Research report				 10%

Quizzes					 40%

Final Exam					 20%

100%

GRADING SCALE:

A = 90%-100%

B = 80%- 89.9%

C = 70%-79.9%

D = 60%-69.9%

E = Below 60%

SPECIAL COURSE REQUIREMENTS: None.

ATTENDANCE POLICY: The college policy will be followed, and attendance will be taken each class period.  Although no grade is assigned for attendance, you are expected to attend every lecture and laboratory period.  Attendance will be taken by the instructor before each class begins.  If you miss a class period, it is your responsibility to obtain the course notes.  Because there is no opportunity to make-up laboratory assignments, it is highly recommended that you attend each laboratory period.

COLLEGE SYLLABUS STATEMENTS

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

UNITS OF INSTRUCTION

Unit 1 (2 weeks)

- Unit of Instruction:   Overview of environmental engineered systems

- Learning Objectives/Goals:  To provide a description of environmental engineering process, and a review of the various systems used to control pollution and remediate the environment.

- Assignment:  Read report on environmental engineering, field trip report(s).

- Assessment Method:  Laboratory activities, quizzes, final exam

Unit 2 (2 weeks)

- Unit of Instruction:  Process controls diagrams and engineering drawings

- Learning Objectives/Goals:  To explain how to read P&IDs and various drawings used in the environmental industry

-Assignment:  Lab assignment on reading engineering drawings

- Assessment Methods:   Laboratory activities, quizzes, final

Unit 3 (3 weeks)

- Unit of Instruction:  Piping and plumbing systems

- Learning Objectives/Goals:  To explain piping systems and flow diagrams used on environmental projects, and be able to perform simple plumbing tasks

-Assignment:  Process control lab using I/P converter and proportional valves

- Assessment Methods:   Laboratory activities, quizzes, final

Unit 4 (3 weeks)

- Unit of Instruction:  Electricity

- Learning Objectives/Goals:   To describe basic electrical theory, discussing reading schematics of electrical systems and be familiar with electrical system equipment.

- Assignments:  Lab on electricity, AC/DC, and motor control

- Assessment Methods:  Laboratory activities, quizzes, final

Unit 5 (2 weeks)

- Unit of Instruction:  Switches, controls and instrumentation

- Learning Objectives/Goals:   To discuss how process control systems and equipment is used in the environmental field

- Assignments:  Lab activities on switches, controls and instrumentation

- Assessment Methods:  Laboratory activities, quizzes, final

Unit 6 (3 weeks)

- Unit of Instruction:  Mechanical equipment

- Learning Objectives/Goals:   To describe how various pumps work, blowers and vacuum systems operate, and describe the operation of pneumatic systems.

- Assignments:  Lab activities on various pumps (educator, metering and centrifugal) and pneumatic systems

- Assessment Methods:  Laboratory activities, quizzes, final