Columbus State Community College

# Division: Business, Engineering, Technology (BET)

# Department: Design, Construction, & Trades (DCT)

COURSE NUMBER: HVAC  1180			COURSE TITLE: HVAC Wiring Circuits 1

CREDITS: 2.0		CLASS/CONTACT HOURS PER WEEK:	Lecture – 1.5 hours, Lab – 1.0 hour

PREREQUISITES: None

DESCRIPTION OF COURSE

This course is designed to teach a new student how to read, draw, interpret and understand residential heating and cooling wiring diagram symbols, devices and wire size identification, basic circuit distribution concepts and schematic applications of same.

COURSE STUDENT LEARNING OUTCOMES

Upon completion of this course, the student should be able to:

- Identify definitions and terms applicable to HVAC applications.

- Associate the concepts of matter, energy, electron theory and how they apply to electric circuits.

- Demonstrate how AC and DC circuits are designed and applied.

- Explain electricity is generated and distributed by power companies.

- Recognize the design and operational aspects of all electrical components.

- Perform the previously learned skills with regards to HVAC electrical components and apply this knowledge to empirically developed practical exercises which will include laboratory exercises.AC fundamentals and test meters will be utilized.

PROGRAM OUTCOMES

The Heating, Ventilating and Air Conditioning Technology program prepares graduates for a wide variety of occupations in the $150 billion mechanical environment science field. Graduates find employment with large commercial heating and air conditioning contractors, residential mechanical contractors, parts and equipment distributors, large commercial and industrial facility maintenance departments, hospital facilities maintenance departments, custom design or new construction markets.

The increase in new high-rise buildings and real estate development within all major cities is a clear indication of the ongoing job opportunities available. Many graduates also find employment with equipment manufacturers in research and development. Today’s society is demanding more emphasis on the ethical, legal, and regulatory requirements relating to environmental concerns facing the HVAC industry today and in the future.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course (HVAC 1180), students are expected to demonstrate the skills associated with the college wide learning goals and program outcomes identified below. In class you are assessed on your achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILG) identified below:

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

COURSE MATERIALS REQUIRED

- 2” 3 Ring Binder

- Scientific Calculator

TEXTBOOK(S), MANUALS, REFERENCES, AND OTHER READINGS

Fundamentals of HVAC/R by Stanfield, fourth Edition, published by Pearson. ISBN 978-0-13-684078-7

*MyLab Access Code for the textbook and MyLab Homework

GENERAL INSTRUCTIONAL METHODS

Seminar format with lectures, slide presentations, videos and practical experiments.

STANDARDS AND METHODS FOR EVALUATION

Students are required to demonstrate competence in a variety of tasks. They are also required to read the assigned chapters of the textbook and are responsible for the content contained in those reading assignments. Students are also required to complete, in a timely fashion, the assigned content. Calculation of a student's final grade will be based on the following criteria:

Participation			10% of the final grade

Homework:			10% of the final grade

Mid-Term:			30% of the final grade

Periodic quizzes:		10% of the final grade

All lab work:			10% of the final grade

A comprehensive final exam:	30% of the final grade

TOTAL	100%

Participation: Active engagement with peers and instructor during meeting dates

Homework: MyLab assignments

Mid-Term: Written test

Quizzes: Periodic assessments throughout the course

Labs: Physical learning assessments during meeting dates

Final Exam: Written test

NOTE: There will be no make-up work (labs, quizzes or tests) given without prior approval from the instructor. Assignments (Lab, Homework, etc.) that are turned in one class-day late will be worth partial credit (starting at 80%), after that a zero will be given. Assignments (Lab, Homework, etc.) that are turned in at the start of class on the day they are due will be worth full credit. Any assignments turned in at the end of class on the day they are due will be worth partial credit (starting at 80%). After that, they will be given a zero. If a situation arises that demands a grade of incomplete to be given, arrangements for this must be made with the instructor prior to the end of the semester.

GRADING SCALE

A = 92 to 100 %

B = 85 to 91 %

C = 75 to 84 %

D = 70 to 74 %

E = 0 to 69% An E represents a failing grade and that a significant portion of the coursework was attempted by the student.

EN = An EN represents a failing grade and that a signification portion of the coursework was not attempted by the student.

SPECIAL COURSE REQUIREMENTS

Lockdown Browser Requirement
This course requires the use of Lockdown Browser for online exams. Watch this video to get a basic understanding of Lockdown Browser:

https://www.respondus.com/products/lockdown-browser/student-movie.shtml

Download Instructions
Download and install Lockdown Browser from this link:

https://download.respondus.com/lockdown/download.php?id=943712365

Once Installed

- Start Lockdown Browser

- Log into Blackboard Learn

- Navigate to the exam

Note: You won't be able to access tests with a standard web browser. If this is tried, an error message will indicate that the test requires the use of Lockdown Browser. Simply start Lockdown Browser and navigate back to the exam to continue.

Guidelines
When taking an online exam follow these guidelines:

- Select a location where you won't be interrupted

- Before starting the test, know how much time is available for it, and also that you've allotted sufficient time to complete it

- Turn off all mobile devices, phones, etc. and don't have them within reach

- Clear your area of all external materials - books, papers, other computers, or devices

- Remain at your desk or workstation for the duration of the test

- Lockdown Browser will prevent you from accessing other websites or applications; you will be unable to exit the test until all questions are completed and submitted

Getting Help
Several resources are available if you encounter problems with Lockdown Browser:

- The Windows and Mac versions of Lockdown Browser have a "Help Center" button located on the toolbar. Use the "System & Network Check" to troubleshoot issues. If an exam requires you to use a webcam, also run the "Webcam Check" from this area

- You can contact the CSCC IT Support Center at the following link to assist you in the way that fits your availability best. https://www.cscc.edu/services/itsc/

- Respondus has a Knowledge Base available from support.respondus.com. Select "Lockdown Browser & Respondus Monitor" as the product to view helpful articles.

- If you're still unable to resolve a technical issue with Lockdown Browser, go to support.respondus.com and select "Submit a Ticket". Provide detailed information about your problem and what steps you took to resolve it

FOOD AND BEVERAGE POLICY

It is the policy of this instructor that food will not be allowed in class or lab. Drinking soft drinks, coffee, and/or dairy products is allowed in class.

CELL PHONE POLICY

It is the policy of this instructor that there will be no texting, tweeting or answering cell phones during class time. All cell phones must be turned off or on silent during class. Ample time will be given on break for phone usage. Cell phones with calculators WILL NOT be allowed on the midterm or final.

BREAKS

Ample time will be given on break (10 minutes) for the above items.

LATE ARRIVAL

If you arrive after the beginning of class, please join the class quickly and quietly. You will be expected to remain in the lab after all students have finished, to help the instructor put away lab equipment. (Last one in is also last one to leave) Lab points will be deducted after the first occurrence.  Note: most class announcements concerning assignments, field trips, schedule changes, etc. occur at the beginning of each class.  It is the student’s responsibility to stay current with this information.

TEXT READING

Each student is responsible for reading the portions of the text related to each lecture.

MID-TERM AND FINAL EXAM

Written test with a one hour and 50-minute time limit. Use of any instructional materials or devices other than those to complete the exam are not allowed.

LAB USAGE

The lab and its facilities and equipment are provided for, and solely available only for, the in-class use of students enrolled in Columbus State HVAC instructional activities. We do not allow access to any students outside of class lab times for courses in which they are enrolled. Further, all activities conducted within class times must be limited only to those that, as per the direction of the instructor, are assigned and relate to the goals and objectives of that course. Finally, lab tools and equipment may not be 'loaned out' for any reason. They are the property of the college and must remain on campus.

ATTENDANCE POLICY

The HVAC Program does not deduct student’s grades for missing class periods, however poor attendance does normally cause learning and grades to be lower, due to missed assignments, lectures and demonstrations. We encourage students to attend every class.

Attendance will be taken at each class session. Columbus State is required by federal law to verify the enrollment of students who participate in Federal Title IV student aid programs and/or who receive educational benefits through the Department of Veteran’s Affairs. It is the responsibility of the College to identify students who do not commence attendance or who stop attendance in any course for which they are registered and paid. Non-attendance is reported quarterly by each instructor, and results in student being administratively withdrawn from the class section. Please contact the Financial Aid Office for information regarding the “impact of course withdrawals on financial aid eligibility.” It is the student’s full responsibility to complete assignments as they become due and to stay current with the class progress in the event of missing a class.

COLLEGE SYLLABUS STATEMENTS

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEATHER RELATED DEPARTMENT SPECIFIC POLICY

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations.  Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on the day the college is closed will be due the next scheduled class period.  If an examination is scheduled for a day when the campus is closed, the examination will be given on the next class day.  If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus.  If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab.  Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled.  The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam.  This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

UNITS OF INSTRUCTION

- Wiring diagram symbols, including interpretation and understanding

- Schematic wiring diagram circuits including series, parallel and combination circuits (Ohms Law)

- Schematic wiring diagram exercises to include drawing and interpretation of series, parallel, and series-parallel circuits.

- Electric meters to include how to read and measure voltage, amps, and ohmic values of resistance.

- Distribution systems including wye and delta transformers, single, and three-phase power.

- Single phase motor theory including ohmic testing and troubleshooting. Motor starting relays and capacitors will be covered.

- Motor theory operation and motor protection to include fuses, circuit breakers, motor starters, and overload protection.

- Electrical troubleshooting to include circuit and amperage draws.

UNITS OF INSTRUCTION

Week 1

- Unit of Instruction: Wiring diagram symbols, including interpretation and understanding

- Learning Objectives/Goals: Symbols and Diagrams for HVAC and Refrigeration Systems

Reading and Writing Schematic (Ladder) and Wiring Diagrams

- Assignment:  Section 5 Unit 30 – Electrical Safety

- Assessment Methods:

Week 2

- Unit of Instruction: Schematic wiring diagram circuits including series, parallel and combination circuits (Ohms Law)

- Learning Objectives/Goals: Safety Practices for HVAC

Fundamentals of Electricity

Electrical Circuits

- Assignment:

- Assessment Methods:

Week 3

- Unit of Instruction: Electric meters to include how to read and measure voltage, amps, and ohmic values of resistance.

- Learning Objectives/Goals: Meters and Tools for HVAC

- Assignment:  Section 5 Unit 31 – Basic Electricity

- Assessment Methods: Quiz

Week 4

- Unit of Instruction: Electrical troubleshooting to include circuit and amperage draws.

- Learning Objectives/Goals: Installing HVAC and Refrigeration Systems, Transformers, and                		                           Power Distribution.

- Assignment:

- Assessment Methods:

Week 5

- Unit of Instruction: Distribution systems including wye and delta transformers, single, and three-phase power.

- Learning Objectives/Goals: Installing HVAC and Refrigeration Systems, Transformers, and                		                           Power Distribution.

- Assignment: section 5 Unit 32 – Alternating Current Fundamentals

- Assessment Methods:

Week 6

- Unit of Instruction: Wiring diagram symbols, including interpretation and understanding

- Learning Objectives/Goals: Safety Practices for HVAC

- Assignment:

- Assessment Methods: Quiz

Week 7

- Unit of Instruction: Electrical troubleshooting to include circuit and amperage draws.

- Learning Objectives/Goals: Installing HVAC and Refrigeration Systems, Transformers, and                		                           Power Distribution.

- Assignment:  Section 5 Unit 33 – Electrical Measuring and Test Instruments

- Assessment Methods:

Week 8

- Unit of Instruction: Mid Term

- Learning Objectives/Goals:

- Assignment:

- Assessment Methods: Exam

Week 9

- Unit of Instruction: Single phase motor theory including ohmic testing and troubleshooting.

Motor starting relays and capacitors will be covered.

- Learning Objectives/Goals: Relays, Contactors, Solenoids, Motor Starters, and Over current

Controls.

- Assignment:

- Assessment Methods:

Week 10

- Unit of Instruction: Single phase motor theory including ohmic testing and troubleshooting.

Motor starting relays and capacitors will be covered.

- Learning Objectives/Goals: Relays, Contactors, Solenoids, Motor Starters, and Over current

Controls.

- Assignment:

- Assessment Methods:

Week 11

- Unit of Instruction: Single phase motor theory including ohmic testing and troubleshooting.

Motor starting relays and capacitors will be covered.

- Learning Objectives/Goals: Relays, Contactors, Solenoids, Motor Starters, and Over current

Controls.

- Assignment:

- Assessment Methods: Quiz

Week 12

- Unit of Instruction: Single phase motor theory including ohmic testing and troubleshooting.

Motor starting relays and capacitors will be covered.

- Learning Objectives/Goals: Relays, Contactors, Solenoids, Motor Starters, and Over current

Controls.

- Assignment:  Section 5 Unit 34 – Electrical Components

- Assessment Methods:

Week 13

- Unit of Instruction: Motor theory operation and motor protection to include fuses, circuit

breakers, motor starters, and overload protection.

- Learning Objectives/Goals: Single-Phase Open Motors

Single-Phase Hermetic Compressors

Three-Phase Open Motors and Three-Phase Hermetic

Compressor

- Assignment:

- Assessment Methods:

Week 14

- Unit of Instruction: Motor theory operation and motor protection to include fuses, circuit

breakers, motor starters, and overload protection.

- Learning Objectives/Goals: Single-Phase Open Motors

Single-Phase Hermetic Compressors

Three-Phase Open Motors and Three-Phase Hermetic

Compressors

- Assignment:

- Assessment Methods: Quiz

Week 15

- Unit of Instruction: Motor theory operation and motor protection to include fuses, circuit

breakers, motor starters, and overload protection.

- Learning Objectives/Goals: Single-Phase Open Motors

Single-Phase Hermetic Compressors

Three-Phase Open Motors and Three-Phase Hermetic

Compressors

- Assignment:

- Assessment Methods: Quiz

Week 16

- Unit of Instruction: Final

- Learning Objectives/Goals:

- Assignment:

- Assessment Methods: Exam