Columbus State Community College

# Division: Business, Engineering, Technology (BET)

# Department: Design, Construction, & Trades (DCT)

COURSE NUMBER: HVAC 2110		COURSE TITLE: Piping systems

CREDITS: 2.0		CLASS/CONTACT HOURS PER WEEK:	Lecture – 1.5 hours, Lab – 1 hours PREREQUISITES: HVAC 1140

DESCRIPTION OF COURSE

This course is a comprehensive study of the UPC, water supply, water treatment, and distribution, to include wastewater disposal and sanitation standards. Emphasis will be placed upon mechanical piping design, nomenclature, the physics of metal pipe, tubing, fittings, valves, joining methods, pumps, pump sizing, water flow principles, pressure loss, sizing and terminal units. Boilers, furnaces, chillers and refrigeration systems will be discussed in detail.

COURSE STUDENT LEARNING OUTCOMES

Upon completion of this course, students should be able to:

- Associate the safe and proper operation of various safety equipment to protect themselves in an actual work environment.

- Describe the safety practices involved in various pieces of equipment used in the piping field.

- Compute the capacity of storage vessels in terms of cubic feet, number of gallons and weight in pounds.

- Identify the purpose of each accessory and its operating characteristics such as flanges, gaskets, nuts, bolts, insulation, expansion joints

- Review the various materials used in the construction of pipes

- Calculate the expansion of pipes when they are subjected to a heat source.

- Defend the importance of treating the water in HVAC systems

- Discover the different types of pumps, how they operate, and how to select a pump.

- Demonstrate how fluid flows in a piping system. New terms such as volumetric flow rate and mass flow rate will be explained in detail.

- Calculate friction loss in a pump and piping system.

- Convert head pressures from psi to feet of head and vice versa. They will also learn about absolute, gage, and atmospheric pressures.

- Calculate densities and specific gravities of various gases, liquids, and solids.

PROGRAM OUTCOMES

The Heating, Ventilating and Air Conditioning Technology program prepares graduates for a wide variety of occupations in the $150 billion mechanical environment science field. Graduates find employment with large commercial heating and air conditioning contractors, residential mechanical contractors, parts and equipment distributors, large commercial and industrial facility maintenance departments, hospital facilities maintenance departments, custom design or new construction markets.

The increase in new high-rise buildings and real estate development within all major cities is a clear indication of the ongoing job opportunities available. Many graduates also find employment with equipment manufacturers in research and development. Today’s society is demanding more emphasis on the ethical, legal, and regulatory requirements relating to environmental concerns facing the HVAC industry today and in the future.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course (HVAC 2110), students are expected to demonstrate the skills associated with the college wide learning goals and program outcomes identified below. In class you are assessed on your achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILG) identified below:

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Technological Competence

- Communication Competence

- Cultural and Social Awareness

- Professional & Life Skills

COURSE MATERIALS REQUIRED

3 Ring Binder

Scientific Calculator

TEXTBOOK(S), MANUALS, REFERENCES, AND OTHER READINGS

Piping Design PT.3 510-312 by Carrier, ISBN - 97899700004621

Refrigerant Piping Systems 791-234 by Carrier, ISBN - 9789970004638

Water Piping Systems and Pumps 796-043 by Carrier, ISBN - 9789970004645

GENERAL INSTRUCTIONAL METHODS

Seminar format with lectures, discussions and videos.

STANDARDS AND METHODS FOR EVALUATION

Students are required to demonstrate competence in a variety of tasks. They are also required to read the assigned chapters of the textbook and are responsible for the content contained in those reading assignments. Students are also required to complete, in a timely fashion, the assigned content. Calculation of a student's final grade will be based on the following criteria:

Participation			10% of the final grade

Homework:			10% of the final grade

Mid-Term:			30% of the final grade

Periodic quizzes:		10% of the final grade

All lab work:			10% of the final grade

A comprehensive final exam:	30% of the final grade

TOTAL	100%

Participation: Active engagement with peers and instructor during meeting dates

Homework: Assignments

Mid-Term: Written test

Quizzes: Periodic assessments throughout the course

Labs: Physical learning assessments during meeting dates

Final Exam: Written test

NOTE: There will be no make-up work (labs, quizzes or tests) given without prior approval from the instructor. Assignments (Lab, Homework, etc.) that are turned in one class-day late will be worth partial credit (starting at 80%), after that a zero will be given. Assignments (Lab, Homework, etc.) that are turned in at the start of class on the day they are due will be worth full credit. Any assignments turned in at the end of class on the day they are due will be worth partial credit (starting at 80%). After that, they will be given a zero. If a situation arises that demands a grade of incomplete to be given, arrangements for this must be made with the instructor prior to the end of the semester.

GRADING SCALE

A = 92 to 100 %

B = 85 to 91 %

C = 75 to 84 %

D = 70 to 74 %

E = 0 to 69% An E represents a failing grade and that a significant portion of the coursework was attempted by the student.

EN = An EN represents a failing grade and that a signification portion of the coursework was not attempted by the student.

SPECIAL COURSE REQUIREMENTS

None

FOOD AND BEVERAGE POLICY

It is the policy of this instructor that food will not be allowed in class or lab. Drinking soft drinks, coffee, and/or dairy products is allowed in class.

CELL PHONE POLICY

It is the policy of this instructor that there will be no texting, tweeting or answering cell phones during class time. All cell phones must be turned off or on silent during class. Ample time will be given on break for phone usage. Cell phones with calculators WILL NOT be allowed on the midterm or final.

BREAKS

Ample time will be given on break (10 minutes) for the above items.

LATE ARRIVAL

If you arrive after the beginning of class, please join the class quickly and quietly. You will be expected to remain in the lab after all students have finished, to help the instructor put away lab equipment. (Last one in is also last one to leave) Lab points will be deducted after the first occurrence.  Note: most class announcements concerning assignments, field trips, schedule changes, etc. occur at the beginning of each class.  It is the student’s responsibility to stay current with this information.

TEXT READING

Each student is responsible for reading the portions of the text related to each lecture.

MID-TERM AND FINAL EXAM

Written test with a one hour and 50-minute time limit. Use of any instructional materials or devices other than those to complete the exam are not allowed.

LAB USAGE

The lab and its facilities and equipment are provided for, and solely available only for, the in-class use of students enrolled in Columbus State HVAC instructional activities. We do not allow access to any students outside of class lab times for courses in which they are enrolled. Further, all activities conducted within class times must be limited only to those that, as per the direction of the instructor, are assigned and relate to the goals and objectives of that course. Finally, lab tools and equipment may not be 'loaned out' for any reason. They are the property of the college and must remain on campus.

ATTENDANCE POLICY

The HVAC Program does not deduct student’s grades for missing class periods, however poor attendance does normally cause learning and grades to be lower, due to missed assignments, lectures and demonstrations. We encourage students to attend every class.

Attendance will be taken at each class session. Columbus State is required by federal law to verify the enrollment of students who participate in Federal Title IV student aid programs and/or who receive educational benefits through the Department of Veteran’s Affairs. It is the responsibility of the College to identify students who do not commence attendance or who stop attendance in any course for which they are registered and paid. Non-attendance is reported quarterly by each instructor, and results in student being administratively withdrawn from the class section. Please contact the Financial Aid Office for information regarding the “impact of course withdrawals on financial aid eligibility.” It is the student’s full responsibility to complete assignments as they become due and to stay current with the class progress in the event of missing a class

COLLEGE SYLLABUS STATEMENTS

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEATHER RELATED DEPARTMENT SPECIFIC POLICY

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations.  Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on the day the college is closed will be due the next scheduled class period.  If an examination is scheduled for a day when the campus is closed, the examination will be given on the next class day.  If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus.  If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab.  Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled.  The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam.  This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

UNITS OF INSTRUCTION:

- Understanding the Safety Concepts with Piping Systems

- Storage Vessels and Pipes

- Pumping Systems and Fluid Flow

UNITS OF INSTRUCTION

Week 1

- Unit of Instruction: Understanding the Safety Concepts with Piping Systems

- Learning Objectives/Goals: Review syllabus and expectations for the class.

Differentiate between Closed & Open loop and 1,2,3,4 pipe

systems.

Differentiate between Direct and Reverse Return systems.

Perform Area and Volume Conversions.

Recognize Blueprint Symbols.

- Assignment: Piping Design PT.3

Water Piping Systems and Pumps

- Assessment Methods:

Week 2

- Unit of Instruction: Storage Vessels and Pipes

- Learning Objectives/Goals: Calculate Area and Volume of circles, squares, rectangles, and

cylinders.

Calculate weight and volume of fluids in various structures.

Calculate pipe weight and fluid weight in pipes.

Discuss Density and Specific Gravity and perform calculations.

- Assignment: Piping Design PT.3

- Assessment Methods: Quiz

Week 3

- Unit of Instruction: Understanding the Safety Concepts with Piping Systems

Storage Vessels and Pipes

- Learning Objectives/Goals: Describe Piping Safety.

Review Accessories – Valves, Flanges, Gaskets, Nuts, Washers,

Bolts.

Review Metric System.

- Assignment: Piping Design PT.3

- Assessment Methods: Quiz

Week 4

- Unit of Instruction: Pumping Systems and Fluid Flow

- Learning Objectives/Goals: Calculate GPM, Specific Gravity, Volumetric Flow Rate, and

Specific Volume

Describe Piping Materials

Discuss Insulation

Describe Expansion Joints and Loops

Describe Packing

- Assignment: Piping Design PT.3

- Assessment Methods: Quiz

Week 5

- Unit of Instruction: Pumping Systems and Fluid Flow

- Learning Objectives/Goals: Review Backflow Preventers

- Assignment: Piping Design PT.3

- Assessment Methods: Quiz

Week 6

- Unit of Instruction: Pumping Systems and Fluid Flow

- Learning Objectives/Goals: Calculate Mass Flow Rate

Calculate Head Pressure

- Assignment: Piping Design PT.3

Water Piping Systems and Pumps

- Assessment Methods: Quiz

Week 7

- Unit of Instruction: Pumping Systems and Fluid Flow

- Learning Objectives/Goals: Calculate Mass Flow Rate

Calculate Head Pressure

- Assignment: Piping Design PT.3

Water Piping Systems and Pumps

- Assessment Methods:

Week 8

- Unit of Instruction: Mid Term

- Learning Objectives/Goals:

- Assignment:

- Assessment Methods: Exam

Week 9

- Unit of Instruction: Understanding the Safety Concepts with Piping Systems

Storage Vessels and Pipes

- Learning Objectives/Goals: Explain Soldering and Brazing

Explain Welding

- Assignment: Piping Design PT.3

- Assessment Methods:

Week 10

- Unit of Instruction: Storage Vessels and Pipes

Pumping Systems and Fluid Flow

- Learning Objectives/Goals: Discuss Refrigerant Piping

- Assignment: Refrigerant Piping Systems

- Assessment Methods: Quiz

Week 11

- Unit of Instruction: Storage Vessels and Pipes

Pumping Systems and Fluid Flow

- Learning Objectives/Goals: Discuss Refrigerant Piping

- Assignment: Refrigerant Piping Systems

- Assessment Methods:  Quiz

Week 12

- Unit of Instruction: Storage Vessels and Pipes

Pumping Systems and Fluid Flow

- Learning Objectives/Goals: Discuss Refrigerant Piping

Discuss Water Treatment

- Assignment: Refrigerant Piping Systems

Piping Design PT.3

- Assessment Methods:

Week 13

- Unit of Instruction: Pumping Systems and Fluid Flow

- Learning Objectives/Goals: Discuss Major and Minor Head Loss

Discuss Pump Laws

Discuss Pump Curves

Calculate Linear Expansion

Review Steam Piping

- Assignment: Piping Design PT.3

Water Piping Systems and Pumps

- Assessment Methods: Quiz

Week 14

- Unit of Instruction: Storage Vessels and Pipes

Pumping Systems and Fluid Flow

- Learning Objectives/Goals: Review Piping Definitions

Calculate Pumping Costs

- Assignment: Piping Design PT.3

Water Piping Systems and Pumps

- Assessment Methods: Quiz

Week 15

- Unit of Instruction: Storage Vessels and Pipes

Pumping Systems and Fluid Flow

- Learning Objectives/Goals: Review Piping Definitions

Calculate Pumping Costs

- Assignment: Piping Design PT.3

Water Piping Systems and Pumps

- Assessment Methods: Quiz

Week 16

- Unit of Instruction: Final

- Learning Objectives/Goals:

- Assignment:

- Assessment Methods: Exam