Columbus State Community College

# Division: Business, Engineering, Technology (BET)

# Department: Design, Construction, & Trades (DCT)

COURSE NUMBER: HVAC 2190		COURSE TITLE: Boiler Systems

CREDITS: 4.0		CLASS/CONTACT HOURS PER WEEK:	Lecture – 2.0 hours, Lab - 4.0 hours PREREQUISITES: HVAC 1150, HVAC 2110

DESCRIPTION OF COURSE

This course uses basic combustion knowledge from HVAC 1150 and piping system knowledge from HVAC 2110 to build a basic understanding of boiler types, systems, safety procedures and codes that will prepare a person to take the High-Pressure Boiler License Examination.

COURSE STUDENT LEARNING OUTCOMES

Upon completion of this course, the student should be able to:

- Recognize boiler type and construction methods used.

- Describe proper operating methods of each boiler type.

- Operate a steam boiler, setting the controllers, observing results, following safety procedures.

- Identify the performance and advantages of various types of fuel.

- Explain the operations at a fuel control system.

- Recognize accessories, where they are found in the system and their function.

- Associate the importance and need of accessories and how to operate them.

- Explain how the complete boiler system operates.

- Recognize each operation and function is interdependent with every other part of the system.

- Interpret knowledge to the State Boiler Examiner.

- Memorize sufficient knowledge to pass Ohio State Boiler Examination.

PROGRAM OUTCOMES

The Heating, Ventilating and Air Conditioning Technology program prepares graduates for a wide variety of occupations in the $150 billion mechanical environment science field. Graduates find employment with large commercial heating and air conditioning contractors, residential mechanical contractors, parts and equipment distributors, large commercial and industrial facility maintenance departments, hospital facilities maintenance departments, custom design or new construction markets.

The increase in new high-rise buildings and real estate development within all major cities is a clear indication of the ongoing job opportunities available. Many graduates also find employment with equipment manufacturers in research and development. Today’s society is demanding more emphasis on the ethical, legal, and regulatory requirements relating to environmental concerns facing the HVAC industry today and in the future.

OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course (HVAC 2190), students are expected to demonstrate the skills associated with the college wide learning goals and program outcomes identified below. In class you are assessed on your achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILG) identified below:

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Technological Competence

COURSE MATERIALS REQUIRED

3 Ring Binder

TEXTBOOK(S), MANUALS, REFERENCES, AND OTHER READINGS

High Pressure Boilers by Steingress and Frost, 6th edition Published by ATP publications, ISBN - 9780826943316

GENERAL INSTRUCTIONAL METHODS

Seminar format with lectures, discussions, power points, and lab assignments.

STANDARDS AND METHODS FOR EVALUATION

Students are required to demonstrate competence in a variety of tasks. They are also required to read the assigned chapters of the textbook and are responsible for the content contained in those reading assignments. Students are also required to complete, in a timely fashion, the assigned content. Calculation of a student's final grade will be based on the following criteria:

Attendance:			10% of the final grade

Homework:			10% of the final grade

Mid-Term:			30% of the final grade

Periodic quizzes:		10% of the final grade

All lab work:			10% of the final grade

A comprehensive final exam:	30% of the final grade

TOTAL	          100%

Participation: Active engagement with peers and instructor during meeting dates

Homework: Assignments and Questions

Mid-Term: Written test

Quizzes: Periodic assessments throughout the course

Labs: Physical learning assessments during meeting dates

Final Exam: Written test

NOTE: There will be no make-up work (labs, quizzes or tests) given without prior approval from the instructor. Assignments (Lab, Homework, etc.) that are turned in one class-day late will be worth partial credit (starting at 80%), after that a zero will be given. Assignments (Lab, Homework, etc.) that are turned in at the start of class on the day they are due will be worth full credit. Any assignments turned in at the end of class on the day they are due will be worth partial credit (starting at 80%). After that, they will be given a zero. If a situation arises that demands a grade of incomplete to be given, arrangements for this must be made with the instructor prior to the end of the semester.

GRADING SCALE

A = 92 to 100 %

B = 85 to 91 %

C = 75 to 84 %

D = 70 to 74 %

E = 0 to 69% An E represents a failing grade and that a significant portion of the coursework was attempted by the student.

EN = An EN represents a failing grade and that a signification portion of the coursework was not attempted by the student.

SPECIAL COURSE REQUIREMENTS

None

FOOD AND BEVERAGE POLICY

It is the policy of this instructor that food will not be allowed in class or lab. Drinking soft drinks, coffee, and/or dairy products is allowed in class.

CELL PHONE POLICY

It is the policy of this instructor that there will be no texting, tweeting or answering cell phones during class time. All cell phones must be turned off or on silent during class. Ample time will be given on break for phone usage. Cell phones with calculators WILL NOT be allowed on the midterm or final.

BREAKS

Ample time will be given on break (10 minutes) for the above items.

LATE ARRIVAL

If you arrive after the beginning of class, please join the class quickly and quietly. You will be expected to remain in the lab after all students have finished, to help the instructor put away lab equipment. (Last one in is also last one to leave) Lab points will be deducted after the first occurrence.  Note: most class announcements concerning assignments, field trips, schedule changes, etc. occur at the beginning of each class.  It is the student’s responsibility to stay current with this information.

TEXT READING

Each student is responsible for reading the portions of the text related to each lecture.

MID-TERM AND FINAL EXAM

Written test with a one hour and 50-minute time limit. Use of any instructional materials or devices other than those to complete the exam are not allowed.

LAB USAGE

The lab and its facilities and equipment are provided for, and solely available only for, the in-class use of students enrolled in Columbus State HVAC instructional activities. We do not allow access to any students outside of class lab times for courses in which they are enrolled. Further, all activities conducted within class times must be limited only to those that, as per the direction of the instructor, are assigned and relate to the goals and objectives of that course. Finally, lab tools and equipment may not be 'loaned out' for any reason. They are the property of the college and must remain on campus.

ATTENDANCE POLICY

The HVAC Program does not deduct student’s grades for missing class periods, however poor attendance does normally cause learning and grades to be lower, due to missed assignments, lectures and demonstrations. We encourage students to attend every class.

Attendance will be taken at each class session. Columbus State is required by federal law to verify the enrollment of students who participate in Federal Title IV student aid programs and/or who receive educational benefits through the Department of Veteran’s Affairs. It is the responsibility of the College to identify students who do not commence attendance or who stop attendance in any course for which they are registered and paid. Non-attendance is reported quarterly by each instructor, and results in student being administratively withdrawn from the class section. Please contact the Financial Aid Office for information regarding the “impact of course withdrawals on financial aid eligibility.” It is the student’s full responsibility to complete assignments as they become due and to stay current with the class progress in the event of missing a class.

COLLEGE SYLLABUS STATEMENTS

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at www.cscc.edu/syllabus or on the College website Quick Links “Syllabus Statements”.

WEATHER RELATED DEPARTMENT SPECIFIC POLICY

In the event of severe weather or other emergencies that could force the college to close or to cancel classes, such information will be broadcast on radio stations and television stations.  Students who reside in areas that fall under a Level III emergency should not attempt to drive to the college even if the college remains open.

Assignments due on the day the college is closed will be due the next scheduled class period.  If an examination is scheduled for a day when the campus is closed, the examination will be given on the next class day.  If a laboratory is scheduled on the day the campus is closed, it will be made up at the next scheduled laboratory class.

Students who miss a class because of weather-related problems when the class is held as scheduled are responsible for readings and other assignments as indicated in the syllabus.  If a laboratory or an examination is missed, contact the faculty member as soon as possible to determine how to make up the missed exam or lab.  Remember, it is the student’s responsibility to keep up with readings and other assignments when a scheduled class does not meet, whatever the reason.

In the event the college is forced to close during Final Examination Week, exams scheduled for the first missed date will be rescheduled.  The faculty member for each section of a course will communicate via email to registered students of the new date, time, and location of the exam.  This information will also be posted, by the faculty member, on their Blackboard section as an announcement.

UNITS OF INSTRUCTION

- Types of Boilers and Distinguishing Construction Methods.

- Fuel Combustion, Combustion Control and a Study of Fuels.

- Accessories Used in Boiler Construction and Operation.

- Review of Typical Questions Which Might Appear on the Ohio State High Pressure Boiler Tests.

UNITS OF INSTRUCTION

Week 1

- Unit of Instruction: Types of Boilers and Distinguishing Construction Methods.

Accessories Used in Boiler Construction and Operation.

- Learning Objectives/Goals: Outline Steam Boilers (Appendix, glossary, and index)

Review State Web Site / Licensing

- Assignment: Review syllabus

Steam Boilers (Appendix, glossary, and index)

Review State Web Site / Licensing

- Assessment Methods:

Week 2

- Unit of Instruction: Types of Boilers and Distinguishing Construction Methods.

Accessories Used in Boiler Construction and Operation.

- Learning Objectives/Goals: Demonstrate Boiler Tour Online

- Assignment: Boiler Tour Online

Review Tech Check 1

Review Boiler in lab

- Assessment Methods:

Week 3

- Unit of Instruction: Types of Boilers and Distinguishing Construction Methods.

Accessories Used in Boiler Construction and Operation.

- Learning Objectives/Goals: Extrapolate Boiler Room Systems

- Assignment: Steam Boilers and Fittings

Visit Boiler Web Sites

Review Tech Check 2

- Assessment Methods:

Week 4

- Unit of Instruction: Types of Boilers and Distinguishing Construction Methods.

Accessories Used in Boiler Construction and Operation.

- Learning Objectives/Goals: Extrapolate Boiler Room Systems

- Assignment: Boiler Room Systems

Review Tech Check 3

- Assessment Methods:

Week 5

- Unit of Instruction: Types of Boilers and Distinguishing Construction Methods.

Accessories Used in Boiler Construction and Operation.

- Learning Objectives/Goals: Explain Steam and Water Accessories

- Assignment: Steam and Water Accessories

Review Tech Check 4

- Assessment Methods:

Week 6

- Unit of Instruction: Fuel Combustion, Combustion Control and a Study of Fuels.

- Learning Objectives/Goals: Analyze Fuel Burning Equipment

- Assignment: Fuel Burning Equipment

Visit Honeywell Controls

Review Handouts

Review Tech Check 5

- Assessment Methods:

Week 7

- Unit of Instruction: Fuel Combustion, Combustion Control and a Study of Fuels.

- Learning Objectives/Goals: Analyze Fuel Burning Equipment

- Assignment: Fuel Burning Equipment

Review Tech Check 6

- Assessment Methods:

Week 8

- Unit of Instruction: Midterm

- Learning Objectives/Goals:

- Assignment:

- Assessment Methods: Exam

Week 9

- Unit of Instruction: Fuel Combustion, Combustion Control and a Study of Fuels.

Review of Typical Questions Which Might Appear on the Ohio State High

Pressure Boiler Tests.

- Learning Objectives/Goals: Explain the Combustion Process

- Assignment: Review Licensing Exams 1, 2, 3

Review Tech Check 7

Combustion

- Assessment Methods:

Week 10

- Unit of Instruction: Fuel Combustion, Combustion Control and a Study of Fuels.

- Learning Objectives/Goals: Differentiate the different types of Combustion Controls

- Assignment: Combustion Controls

Combustion & Controls

Review Tech Check 8

- Assessment Methods:

Week 11

- Unit of Instruction: Types of Boilers and Distinguishing Construction Methods.

Accessories Used in Boiler Construction and Operation.

- Learning Objectives/Goals: Practice using different styles and types of instruments

- Assignment: Instruments

Review Tech Check 9

- Assessment Methods:

Week 12

- Unit of Instruction: Types of Boilers and Distinguishing Construction Methods.

Accessories Used in Boiler Construction and Operation.

- Learning Objectives/Goals: Interpret Boiler Water Treatment programs

- Assignment: Boiler Water Treatment

Review Tech Check 10

- Assessment Methods:

Week 13

- Unit of Instruction: Review of Typical Questions Which Might Appear on the Ohio State

High Pressure Boiler Tests.

- Learning Objectives/Goals: Duplicate Steam Boiler Operations

- Assignment: Steam Boiler Operations

Review Tech Check 11

- Assessment Methods:

Week 14

- Unit of Instruction: Review of Typical Questions Which Might Appear on the Ohio State

High Pressure Boiler Tests.

- Learning Objectives/Goals: Prepare for State Licensing Exam

- Assignment: Review Licensing Exam 4, 5, 6

- Assessment Methods:

Week 15

- Unit of Instruction: Review of Typical Questions Which Might Appear on the Ohio State

High Pressure Boiler Tests.

- Learning Objectives/Goals: Prepare for State Licensing Exam

- Assignment: Review of all section of the Licensing exam

- Assessment Methods:

Week 16

- Unit of Instruction: Final

- Learning Objectives/Goals:

- Assignment:

- Assessment Methods: Exam