Columbus State Community College

Design Construction Trade Department

Skilled Trades Technology

COURSE: SKTR 1310 -B01-74439 Electrical: Wiring I

# CREDITS:  2 CLASS HOURS PER WEEK:  3 PREREQUISITES: SKTR-1110 INSTRUCTOR:  Russ Dougherty     EMAIL:  rdougher@cscc.edu

DESCRIPTION OF COURSE:

This course introduces the learner to electrical blueprints, wiring of single pole, three-way, and four-way switches, standard and GFCI receptacles, outlet boxes, and branch circuits.  Learners will start their studies of the National Electrical Code (NEC), proper methods of conductor termination, splices, and properly sizing conductors.  This course will introduce learners to basic concepts of raceway installations.

# STUDENT LEARNING OUTCOMES

Upon completion of this course, the student will be able to:

- Demonstrate safeguards against electrical hazards associated with electrical work.

- Demonstrate operating procedures for hand and power tools used in residential wiring.

- Demonstrate residential rough-in wiring.

- Demonstrate installation of electrical boxes.

- Demonstrate terminating conductors.

- Identify common electrical symbols found on architectural drawings.

# GENERAL EDUCATION OUTCOMES

General education at Columbus State Community College provides students with a well rounded educational experience that develops critical thinking skills and a broader knowledge of the larger world around them.

Through a variety of academic disciplines, students develop and refine intellectual virtues like curiosity, open-mindedness, and analytical judgment. Students also explore ideas, concepts, values, beliefs, social institutions, and cultural experiences that build a basis for civic virtues like public mindedness and an appreciation of the varieties of human existence.

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural & Social Awareness

- Professional and Life Skills

# COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Demonstration Tools, Electrical Materials, and Electrical Test Equipment. TEXTBOOK, MANUALS, REFERENCES, AND OTHER READINGS

Residential Construction Academy: House Wiring, Greg Fletcher, Edition 5, Delmar Cengage Learning, ISBN-13: 978-1-337-40241-5

2011 National Electric Code, Paperback, NFPA 70, National Fire Protection Association, ISBN13: 978087765914-3

GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Videos, and Lab Projects

# ASSESSMENT

Columbus State Community College is committed to assessment (measurement) of student achievement of academic outcomes.  This process addresses the issues of what you need to learn in your program of study and if you are learning what you need to learn.  The assessment program at Columbus State has four specific and interrelated purposes: (1) to improve student academic achievements; (2) to improve teaching strategies; (3) to document successes and identify opportunities for program improvement; (4) to provide evidence for institutional effectiveness.  In class you are assessed and graded on your achievement of the outcomes for this course.  You may also be required to participate in broader assessment activities.

# STANDARDS AND METHODS FOR EVALUATION

Attendance .............................10%

Homework Assignments ........10%

Lab Projects ............................20%

Quizzes  ..................................30%

Lab Final Project .....................10%

Final Written Exam  ................20%

# GRADING SCALE

91 % – 100 % ..A

81 % – 90 % ....B 71 % – 80 % ....C

61 % – 70 % ....D

00 % – 60 % ....E

SPECIAL COURSE REQUIREMENTS

# ATTENDANCE POLICY

Columbus State Community College does not deduct from students’ grades for missing class periods. However, poor attendance normally does impact learning adversely and causes grades to be lower due to missed assignments, lectures, and demonstrations. Because this course is a part of a registered apprenticeship program, attendance for a minimum number of hours per year is required by the Ohio State Apprenticeship Council and the US Department of Labor. We strongly encourage students to attend every class. Attendance will be taken at every class session. Please check with the apprenticeship coordinator of your program regarding any additional attendance requirements that you must meet for continued participation in your program.

# STUDENT CODE OF CONDUCT

As an enrolled student at Columbus State Community College, you have agreed to abide by the Student Code of Conduct as outlined in the Student Handbook.  You should familiarize yourself with the student code.  The Columbus State Community College expects you to exhibit high standards of academic integrity, respect and responsibility.  Any confirmed incidence of misconduct, including plagiarism and other forms of cheating, will be treated seriously and in accordance with College Policy and Procedure 7-10.

# AMERICANS WITH DISABILITIES ACT (ADA) POLICY

It is Columbus State policy to provide reasonable accommodations to students with disabilities as stated in the Americans with Disabilities Act (ADA) and Section 504 of the Rehabilitation Act. If you would like to request such accommodations for access, please contact Disability Services: 101 Eibling Hall, (614) 287-2570. Email or give your instructor a copy of your accommodations letter from Disability Services as soon as possible.  Accommodations do not start until your instructor receives the letter, and accommodations are not retroactive.

Delaware Campus students may contact an advisor in the Student Services Center on the first floor of Moeller Hall, (740) 203-8000.

# Audio and Video Recording Statement

Audio-and video-recording, transmission, or distribution of class content (e.g., lectures, discussions, demonstrations, etc.) is strictly prohibited unless the course instructor has provided written permission via the syllabus or a signed form.  Authorization to record extends solely to students in that particular course.  Transmitting, sharing, or distributing course content onto public, commercial, or social media sites is strictly prohibited.

# Title IX Syllabus Statement

Columbus State Community College is committed to creating a learning and working environment that is free of bias, discrimination, and harassment by providing open communication and mutual respect. If you have encountered sexual harassment, sexual misconduct, sexual assault, or discrimination based on race, color, religion, age, national origin, ancestry, sex, sexual orientation, gender identity and expression, genetic information (GINA), military status or disability, please contact one of the following people:

| Renee Fambro Director of Equity & Compliance Human Resources Rhodes Hall 115 rfambro@cscc.edu Phone: 614.287.5519 | Danette Vance Title IX Deputy Coordinator Human Resources Rhodes Hall 115 dvance1@cscc.edu Phone: 614.287.2433 | Joan Cook Title IX Deputy Coordinator Human Resources Rhodes Hall 115 dvanhorn@cscc.edu Phone:614.287.2636 | Darla Van Horn Title IX Deputy Coordinator Student Life Eibling Hall 203(D) dvanhorn@cscc.edu Phone:614.287.2856 |
| --- | --- | --- | --- |

For additional information about your options at Columbus State Community College or to file a complaint online, please visit our webpage at:

http://www.cscc.edu/services/title-ix/

## FINANCIAL AID ATTENDANCE REPORTING

Columbus State is required by federal law to verify the enrollment of students who participate in Federal Title IV student aid programs and/or who receive educational benefits through the Department of Veterans Affairs. It is the responsibility of the College to identify students who do not commence attendance or who stop attendance in any course for which they are registered and paid. Non-attendance is reported quarterly by each instructor, and results in a student being administratively withdrawn from the class section. Please contact the Financial Aid Office for information regarding the impact of course withdrawals on financial aid eligibility.

For the purposes of financial aid reporting, a student meets the participation and attendance criteria if s/he has actively engaged in the class and demonstrated a meaningful attempt toward completion of the course. Examples of active engagement may include, but are not limited to: completing a graded course assignment (e.g., homework, quiz, essay, project, or lab); actively participating in studio or practicum sessions; making content-related contributions to an online discussion forum (including responses both to prompts and to student/instructor posts).

## UNITS OF INSTRUCTION

| LEARNING UNIT | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 1 | Residential Workplace Safety | Demonstrate an understanding of the electrical hazards associated with electrical work. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 1 - Residential Workplace Safety Due: Chapter Review Questions Lab: Review Electrical Safety | 3/30/19 |
| Learning Unit 2 | Hardware & Material Used | Identify common box and enclosure types used in residential wiring. Identify common conductors used in residential wiring | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 2 - Hardware & Material Used Due: Chapter Review Questions Lab: Working with Romex & Boxes | 3/30/19 |
| Learning Unit 3 | Tools used in Residential Wiring | Identify common hand tools and power tools used in residential wiring. Demonstrate proper understanding of hand and power tools used in residential wiring. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 3 - Tools used in Residential Wiring Due: Chapter Review Questions Lab: Install outlet boxes and wiring | 3/30/19 |
| Learning Unit 4 | General Requirements | Demonstrate an understanding of general requirements | Homework Lab | Ch. 9 - General Requirements for Roughin Wiring Due: Chapter Review Questions | 3/30/19 |

|  | for Rough-in Wiring | for residential rough-in wiring. | Final Written Exam Lab Final Project Quizzes | Lab: Install outlet boxes and wiring | 4/6/19 |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 5 | Electrical Box Installation | Learn to size electrical boxes per NEC requirements. Demonstrate proper installation of electrical boxes. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 10 - Electrical Box Installation Due: Chapter Review Questions Lab: Install outlet boxes and wiring | 4/6/19 |
| Learning Unit 6 | Cable Installation | Demonstrate cable selection and installation. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 11 - Cable Installation Due: Chapter Review Questions Lab: Install outlet boxes and wiring | 4/13/19 |
| Learning Unit 7 | Switching Circuit Installation | Demonstrate a proper knowledge regarding installation of singlepole, three-way, and four-way switches. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 13 - Switching Circuit Installation Due: Chapter Review Questions Lab: Install outlet boxes and wiring | 4/13/19 |

| Learning Unit 8 | Review of Ch. 9, 10, 11, & 13 | Review Weeks One thru Eight | Homework Lab Final Written Exam Lab Final Project Quizzes | Review of Ch. 9, 10, 11, & 13 Lab: Install outlet boxes and wiring |  |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 9 | Branch-Circuit Installation | Identify which branchcircuit wiring is required for general and specific wiring applications. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 14 - Branch-Circuit Installation Due: Chapter Review Questions Lab: Install outlet boxes and wiring | 4/20/19 |
| Learning Unit 10 | Device Installation | Demonstrate a proper understanding of terminating conductors. Demonstrate proper polarity connections. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 18 - Device Installation Due: Chapter Review Questions Lab: Install outlet boxes and wiring | 4/20/19 |
| Learning Unit 11 | Understanding Residential Building Plans | Identify common electrical symbols found on architectural drawings. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 5 - Understanding Residential Building Plans Due: Chapter Review Questions Lab: Make a material list from a set of plans. | 4/27/19 |

| Learning Unit 12 | Residential Service Entrances | Define common terms used for service entrance equipment. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 7 - Residential Service Entrances Due: Chapter Review Questions Lab: Install outlet boxes and wiring | 4/27/19 |
| --- | --- | --- | --- | --- | --- |
| Learning Unit 13 | Service Entrance Equipment | Identify overhead and underground service entrances. Explain the difference between a sub-panel and a service panel. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 8 - Service Entrance Equipment Due: Chapter Review Questions Lab: Install service equipment | 4/27/19 |
| Learning Unit 14 | Service Panel Trim-Out | Determine proper size for Over Current Protection required and permitted. | Homework Lab Final Written Exam Lab Final Project Quizzes | Ch. 19 - Service Panel Trim-Out Due: Handout Review Questions Lab: Install AFCI and GFCI Breakers and circuit wiring. | 5/4/19 |
| Learning Unit 15 | Lighting Fixture Installation | Wire and install a recessed and a surface lighting fixture. | Homework Lab Final Written Exam | Ch. 17 - Lighting Fixture Installation Due: Handout Review Questions Lab: Install light fixtures | 5/4/19 |
|  |  |  | Lab Final Project Quizzes |  | 5/2/19 |
| Learning Unit 16 | Final Exam - Comprehensive |  | Final Exam Lab Final Project |  | 5/7/19 |