# Columbus State Community College Design, Construction & Trades Department Skilled Trades Technology

COURSE NUMBER: SKTR 1340

COURSE TITLE: Plumbing: Introduction to DWV Systems

INSTRUCTOR: James A. Richardson Jr., CPD	CONTACT: jrichar1@cscc.edu CREDITS: 2	CLASS HOURS PER WEEK: 3	PREREQUISITES: MATH 1024

DESCRIPTION OF COURSE

This course introduces learners to the plumbing profession, plumbing safety, tools, plumbing formulas, and drawings. CPVC, copper, steel pipe and relative fittings are discussed. This course will cover sizing requirements, flow rates, and unit usages for different plumbing fixtures. The learning will engage in the installation of plumbing supply systems and proper usage of required tools and installation methods.

### COURSE STUDENT LEARNING OUTCOMES

- Identify and describe hand tools a plumber commonly uses. Demonstrate safe and proper use of these tools.

- Identify various materials commonly used in the plumbing trade, such as piping, fittings, valves, and fixtures

- Identify and describe hand and power tools a plumber frequently uses. Demonstrate safe and proper use of these tools, including proper personal protection.

- Identify and describe the proper use of the variety of metal piping and fittings used in residential plumbing. Demonstrate an understanding of using such materials in accordance with local plumbing codes.

- Identify and describe the variety of valves and safety devices commonly used in residential plumbing and demostrate understanding of proper installation according to local codes.

- Perform techniques for installing a water distribution system according to local plumbing codes.

### PROGRAM OUTCOMES

- Understand the role and function of the skilled trades in the construction industry

- Discriminate the work they perform and how it interrelates with the other trades in the overall scope of a construction project

- Apply underlying theories and principles that are foundational to the trade that they have chosen

- Read, interpret, and follow construction drawings.

- Apply current industry-specific building codes in the planning and execution of work

- Demonstrate the use of proper safety procedures in all activities

### OUTCOMES BASED ASSESSMENT OF STUDENT LEARNING

For this course, students are expected to demonstrate the skills associated with the Institutional Learning Goals (ILG) identified below:

- Critical Thinking

- Ethical Reasoning

- Quantitative Skills

- Scientific Literacy

- Technological Competence

- Communication Competence

- Cultural & Social Awareness

- Professional and Life Skills

In class students are assessed on their achievement of these outcomes. Names will not be used when reporting results. Outcomes-based assessment is used to improve instructional planning and design and the quality of student learning throughout the college.

### COURSE MATERIALS REQUIRED

White Board; PC Terminal with Video Display and Projection Capability; Demonstration Tools, Construction Materials, and Protective Clothing

### TEXTBOOK(S), MANUALS, REFERENCES, AND OTHER READINGS

Residential Construction Academy: Plumbing, 2nd Edition, Michael Joyce, Delmar Cengage Learning, ISBN-13:978-11113-0777-6

Skilled Trades Manual Operator Manuals for Tools

### GENERAL INSTRUCTIONAL METHODS

Lecture, Demonstration, Practical Exercise, Technical Videos, and Lab Projects

### STANDARDS AND METHODS FOR EVALUATION

Attendance	10% Homework Assignments	10%

Lab Projects	20%

Quizzes	30%

Final Written Exam	30%

### GRADING SCALE

91 % – 100 % ..A

81 % – 90 %	B

71 % – 80 %	C

61 % – 70 %	D

00 % – 60 %	E

### SPECIAL COURSE REQUIREMENTS

Lab

Backpacks or book bags are not allowed in the lab area. All students are required to follow proper safety procedures in the lab. Proper safety procedures require students to demonstrate at all times proper individual safety and group safety. Students must understand and follow the concept of safety first when using the Plumbing lab. All students must wear proper garments and protective gear when using the Welding lab. The student must wear long pants (no shorts, skirts, or dresses) and a long-sleeve shirt. The protective gear includes but is not limited to the following safety goggles, welding gloves, welding apron, leather boots or shoes sandals are NOT Permitted. If a student does not have the proper safety gear, he/she will not be allowed to use the lab that class session, resulting in a grade of Zero for that session.

### ATTENDANCE POLICY

Determined by your instructor, as follows:

Due to the nature of this course, it is in YOUR best interest to attend EVERY class. If an absence is unavoidable, students are responsible for obtaining any materials or information given out in their absence. If you are absent on the day of a quiz or test, you may not make up the quiz or test without official, written documentation. Coming in late will result in attendance/safety grade being reduced by 50%. In the event it is a scheduled test or quiz; quiz or test grade will be reduced 5% for every 15minute increment in conjunction with 50% reduction of attendance/safety grade.

## Late Work

Late work will not be accepted for any un-excused absence or work that is not turned in by the established due date. This is to include due dates included in this document or published on the Black Board Course website.

### COLLEGE SYLLABUS STATEMENTS

Columbus State Community College required College Syllabus Statements on College Policies and Student Support Services can be found at www.cscc.edu/syllabus or on the College website Quick Links “ Syllabus Statements”.

#### UNITS OF INSTRUCTION (Please provide a weekly course schedule indicating the units of instruction, learning objectives/goals, assigned readings, assignments, and assessment methods.)

|  | UNIT OF INSTRUCTION | LEARNING OBJECTIVES/GOALS | ASSESSMENT METHODS | ASSIGNMENTS | ASSIGNMENT DUE DATE |
| --- | --- | --- | --- | --- | --- |
|  | Fittings | Identify the various | Homework | Chapter 4 page 97 |  |
| 3/24 |  | types of DWV fittings. | Lab Projects Final Written | – 108. Definitions 1-7 | 3/31/26 |
|  |  |  | Exam |  |  |
|  |  |  | Quizzes |  |  |
| 3/26 | OPC section 701 through 707 | Identify various DWV piping materials, fittings, and joining methods | Homework Lab Projects Final Written Exam Quizzes | Definitions 1-15 | 3/31/26 |
|  |  | and their proper use |  |  |  |
|  |  | in the DWV system. |  |  |  |
|  |  | Identify prohibits |  |  |  |
|  |  | connections in a |  |  |  |
|  |  | DWV system. |  |  |  |
|  | OPC section | Identify proper | Homework |  |  |
| 3/31 | 905, 906, and 909 | grade for vents, identify proper trap | Lab Projects Final Written | Definitions 1-23 | 4/7/26 |
|  |  | to vent distance, | Exam |  |  |
|  |  | and vent | Quizzes |  |  |
|  |  | termination |  |  |  |
|  |  | requirements. |  |  |  |
|  | Lab | Identify proper | Homework |  |  |
| 4/2 |  | grade for vents, identify proper trap to vent distance, | Lab Projects Final Written Exam | Definitions 1-31 | 4/2/26 |
|  |  | and vent | Quizzes |  |  |
|  |  | termination |  |  |  |
|  |  | requirements. |  |  |  |

| 4/7 | OPC section 708 through 709 | Identify when cleanouts are required and properly size an isometric drawing. | Homework Lab Projects Final Written Exam Quizzes | Definitions 1-39 | 04/14/2026 |
| --- | --- | --- | --- | --- | --- |
| 4/9 | Lab |  | Homework Lab Projects Final Written Exam Quizzes | Definitions 1-48 | 4/9/26 |
| 4/14 | OPC section 710, 712, and 715 | Use DFU values to properly size sanitary drainage systems, identify required components of ejection sumps, identify when drainage systems are required to have backwater valves installed. | Homework Lab Projects Final Written Exam Quizzes | Definitions 1-56 | 4/21/26 |
| 4/16 | Lab |  | Homework Lab Projects Final Written Exam Quizzes | Definitions 1-66 | 4/16/26 |
| 4/21 | OPC section 901 through 904 | Identify general venting requirements, and outdoor vent extension requirements. | Homework Lab Projects Final Written Exam Quizzes |  | 4/28/26 |
| 4/23 | Lab | Identify proper grade for vents, identify proper trap to vent distance, and vent termination requirements. | Homework Lab Projects Final Written Exam Quizzes | McWane – cast iron pipe manufacturer demonstration | 4/23/26 |

| 4/28 | OPC section 910 and 911 | Properly configure an individual vent and a common vent to protect trap seals. | Homework Lab Projects Final Written Exam Quizzes |  | 5/5/26 |
| --- | --- | --- | --- | --- | --- |
| 4/30 | Lab | Identify proper grade for vents, identify proper trap to vent distance, and vent termination requirements. | Homework Lab Projects Final Written Exam Quizzes |  | 4/30/26 |
| 5/5 | Lab | Final Lab Project. | Homework Lab Projects Final Written Exam Quizzes |  | 5/7/26 |
| 5/7 | Lab | Final Lab Project. | Homework Lab Projects Final Written Exam Quizzes |  | 5/7/26 |
| 5/11 | Review |  | Homework Lab Projects Final Written Exam Quizzes |  | 5/11/26 |
| 5/13 | Final Exam |  |  |  | 5/15/26 |